## A-Call-outs
Annex C Financial Offer Form
REQUEST FOR PROPOSAL: No. RFP/UNHCR/JOR/2024/6 REQUEST FOR PROPOSAL: No. RFP/UNHCR/JOR/2024/6
Generator Maintenance Services for UNHCR Jordan
Supplier Part:
Please add the cost of visit , the sheet will automatically calculate the total (please don't amend the formulas in this sheet)
CALL OUT CHARGES PER YEAR
| Call out charges including emergency visit | Number of Included site visits | Cost of Visit (JD/visit) | Total JD/year
| Irbid + Ramtha Garden camp | 4 |  | 0
| Azraq | 6 |  | 0
| Zaatari camp | 4 |  | 0
| Amman BO Khalda (UNHCR) | 6 |  | 0
| Mafraq office | 4 |  | 0
| TOTAL CALL OUT CHARGE COST PER YEAR (JD/year) |  |  | 0
Company Name and Stamp:

## B-Spare Parts Frequent
Company Name and Stamp
Sample list of spare parts for pricing- Please only fill the supplier part only
Supplier part | Cost of Supply and installation (TO BE FILLED BY BIDDER) / please add unit price only, the sheet will automatically calculate the total (please don't amend the formulas in this sheet)
Parts | Index # | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S
Oil Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coolant Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Oil Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ATS Panel Lamp | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Batteries | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Engine Oil (L/year) | Liter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coolants (L/year) | Liter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Aux Battery Charger | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grease | Process | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DON'T fill this part, the sheet will automatically calculate the total (don't amend the formulas in this sheet)
Parts |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S
Oil Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coolant Filter | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Oil Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ATS Panel Lamp | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Batteries | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Engine Oil (L/year) | Liter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coolants (L/year) | Liter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Aux Battery Charger | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grease | Process | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total: | 0
Estimated Frequency/Qty Needed per generator (TO BE FILLED BY UNHCR)
UNHCR Part
Parts | Index # | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S
| Type | CUMMINS Generator | CUMMINS Generator | CUMMINS Generator | CUMMINS Generator | CATERPILLAR | AKSA ( Volvo volvo penta + mecc alte) | Volvo | AKSA | AKSA | CUMMINS | CUMMINS | FG Wilson P400-3 | AKSA | AKSA | AKSA | AKSA | SDMO T33 | CATERPILLAR | CUMMINS
| Capacity | 110 KVA | 110 KVA | 250 KVA | 250 KVA | 110 KVA | 250 KVA | 250 KVA | 44 KVA | 44 KVA | 40 KVA | 90 KVA | 400 kVA | 44 KVA | 44 KVA | 44 KVA | 44 KVA | 30 KVA | 150 KVA | 500 KVA
| Location | Irbid | Irbid (Ramtha Garden Camp) | Mafraq Field Office | Zaatari - Storage Area | Zaatari Camp | Zaatari Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Zaatari - Storage Area | Amman-Khalda
| Operation | Standby - 1hr/day | Standby - 1hr/day | Standby - 1hr/day | In storage | Standby - 1hr/day | Standby - 1hr/day | Standby - 1hr/day | In Storage | In Storage | In Storage | Standby | Standby | In Storage | In Storage | In Storage | prime 12hrs/day | Standby | In storage | Standby - less than 1hr/week
Service Frequency (visits/year) |  | 4 | 4 | 4 | 1 | 4 | 4 | 4 | 1 | 1 | 1 | 3 | 3 | 1 | 1 | 1 | 6 | 1 | 1 | 6
Oil Filter | Unit | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 3 | 1 | 1 | 1 | 6 | 1 | 1 | 3
Fuel Filter | Unit | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 6 | 1 | 1 | 1 | 6 | 1 | 1 | 3
Air Filter | Unit | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 3 | 1 | 1 | 1 | 6 | 1 | 1 | 3
Coolant Filter | Unit | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 1 | 1 | 2
Oil Sensor | Unit | bar: A to S
Fuel Sensor | Unit | bar: A to S
ATS Panel Lamp | Unit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Batteries | Unit | bar: A to S
Engine Oil (L/year) | Liter | 80 | 80 | 120 | 40 | 80 | 120 | 116 | 12 | 12 | 12 | 17 | 120 | 10 | 10 | 10 | 50 | 10 | 30 | 240
Coolants (L/year) | Liter | 30 | 30 | 50 | 50 | 30 | 50 | 32 | 10 | 10 | 13 | 20 | 46 | 10 | 10 | 10 | 20 | 10 | 21 | 100
Aux Battery Charger | Unit | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1
Grease | Process | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4

## C-Spare Parts Non Frequent
Company Name and stamp
Sample list of spare parts for pricing (NON FREQUENT)- please add the unit price below
Parts | Gen. Index # | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S
| Type | CUMMINS Generator | CUMMINS Generator | CUMMINS Generator | CUMMINS Generator | CATERPILLAR | AKSA ( Volvo volvo penta + mecc alte) | Volvo | AKSA | AKSA | CUMMINS | CUMMINS | FG Wilson P400-3 | AKSA | AKSA | AKSA | AKSA | SDMO T33 | CATERPILLAR | CUMMINS
| Capacity | 110 KVA | 110 KVA | 250 KVA | 250 KVA | 110 KVA | 250 KVA | 250 KVA | 44 KVA | 44 KVA | 40 KVA | 90 KVA | 400 kVA | 44 KVA | 44 KVA | 44 KVA | 44 KVA | 30 KVA | 150 KVA | 500 KVA
| Location | Irbid | Irbid (Ramtha Garden Camp) | Mafraq Field Office | Zaatari - Storage Area | Zaatari Camp | Zaatari Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Azraq Camp | Zaatari - Storage Area | Amman-Khalda
| Operation | Standby - 1hr/day | Standby - 1hr/day | Standby - 1hr/day | In storage | Standby - 1hr/day | Standby - 1hr/day | Standby - 1hr/day | In Storage | In Storage | In Storage | Standby | Standby | In Storage | In Storage | In Storage | prime 12hrs/day | Standby | In storage | Standby - less than 1hr/week
Air Gap Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 Pole 160Amp Motorized Changeover switch | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distrubution Panel | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Overhaul | Process | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Belts | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Crankcase Breather | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stop Valve | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bolts | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nuts | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cut out fuse | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cartridge Fuse | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Relays | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Switches | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Circuit Breaker (control) | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Main Generator Circuit Breaker | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bearings | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternator Brushes | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternator Bushes | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Panels (controller) | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stabilizer | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Radiator | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Engine Timing Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Radiator Fan | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternator Fan | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternator | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Engine Valve | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Speed Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CT (Clamp) Sensor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rotor | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stator | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lubricant front hub | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 Phase 300-003 GIC Control | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exhaust Pipe | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Radiator Hose (m) | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Hose (m) | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hose clamps | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mountings | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Engine Control Module | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jacket water Heater | Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total %
Total JD |  | A: 0
1 Total for all

## D-Totals
Company Name and Stamp:
DON'T fill this part
The sheet will automatically calculate the total (don't amend the formulas in this sheet)
TOTAL PROJECT COSTS - UNHCR GENERATORS MAINTENANCE
Item | Description | Cost
1 | Call outs ( JD/year) | 0
2 | Frequent Spare Parts (Total JD) | 0
3 | Non-Frequent Spare parts (Sum JD) | 0
TOTAL PROJECT COST |  | 0