## Standalone Split Units
ANNEX C - ITB 2024 040 - Financial Offer form
BIDDERS NAME:
Split System Wall Mounted (Inverter Based)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
A-001 | Cooling/Heating 9KBTU/h | Unit
A-002 | Cooling/Heating 12KBTU/h | Unit
A-003 | Cooling/Heating 18KBTU/h | Unit
A-004 | Cooling/Heating 24KBTU/h | Unit
A-005 | Cooling/Heating 30KBTU/h | Unit
A-006 | Cooling/Heating 36KBTU/h | Unit
Split System Ceiling Cassette (Inverter Based)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
A-007 | Cooling/Heating 24KBTU/h | Unit
A-008 | Cooling/Heating 42KBTU/h | Unit
A-009 | Cooling/Heating 48KBTU/h | Unit
A-010 | Cooling/Heating 51KBTU/h | Unit
Split System Ceiling Suspended (Inverter Based)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
A-011 | Cooling/Heating 12KBTU/h | Unit
A-012 | Cooling/Heating 24KBTU/h | Unit
A-013 | Cooling/Heating 42KBTU/h | Unit
A-014 | Cooling/Heating 48KBTU/h | Unit
Split System Floor Standing (Inverter Based)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
A-015 | Cooling/Heating 27KBTU/h | Unit
A-016 | Cooling/Heating 48KBTU/h | Unit
A-017 | Cooling/Heating 72KBTU/h | Unit
-If a unit or system with the exact same capacity does not exist in the offered manufacturer range, please provide the closest capacity unit or system that is available by the manufacturer.
-Please add items that are relevant to the specific manufacturer if not listed above.

## VRF Outdoor Units
Standalone VRF Single-phase Outdoor Units (Mini VRF) Small number of connected indoor units
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
B-001 | Outdoor Cooling/Heating Unit 8kW | Unit
B-002 | Outdoor Cooling/Heating Unit 10kW | Unit
B-003 | Outdoor Cooling/Heating Unit 12kW | Unit
B-004 | Outdoor Cooling/Heating Unit 14kW | Unit
B-005 | Outdoor Cooling/Heating Unit 16kW | Unit
Standalone VRF Three-phase Outdoor Unit (Mini VRF) Small number of connected indoor units
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
B-006 | Outdoor Cooling/Heating Unit 12kW | Unit
B-007 | Outdoor Cooling/Heating Unit 14kW | Unit
B-008 | Outdoor Cooling/Heating Unit 16kW | Unit
B-009 | Outdoor Cooling/Heating Unit 18kW | Unit
B-010 | Outdoor Cooling/Heating Unit 20kW | Unit
B-011 | Outdoor Cooling/Heating Unit 22kW | Unit
B-012 | Outdoor Cooling/Heating Unit 26kW | Unit
Standalone VRF Outdoor Units
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
B-013 | Outdoor Cooling/Heating Unit 25kW | Unit
B-014 | Outdoor Cooling/Heating Unit 28kW | Unit
B-015 | Outdoor Cooling/Heating Unit 33kW | Unit
B-016 | Outdoor Cooling/Heating Unit 40kW | Unit
B-017 | Outdoor Cooling/Heating Unit 45kW | Unit
B-018 | Outdoor Cooling/Heating Unit 50kW | Unit
B-019 | Outdoor Cooling/Heating Unit 56kW | Unit
B-020 | Outdoor Cooling/Heating Unit 61kW | Unit
B-021 | Outdoor Cooling/Heating Unit 67kW | Unit
B-022 | Outdoor Cooling/Heating Unit 73kW | Unit
B-023 | Outdoor Cooling/Heating Unit 78.5kW | Unit
B-024 | Outdoor Cooling/Heating Unit 85kW | Unit
B-025 | Outdoor Cooling/Heating Unit 90kW | Unit
Modular VRF Outdoor Units
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
B-026 | Outdoor Cooling/Heating Unit 25kW | Unit
B-027 | Outdoor Cooling/Heating Unit 28kW | Unit
B-028 | Outdoor Cooling/Heating Unit 33kW | Unit
B-029 | Outdoor Cooling/Heating Unit 40kW | Unit
B-030 | Outdoor Cooling/Heating Unit 45kW | Unit
B-031 | Outdoor Cooling/Heating Unit 50kW | Unit
B-032 | Outdoor Cooling/Heating Unit 56kW | Unit
B-033 | Outdoor Cooling/Heating Unit 61kW | Unit
B-034 | Outdoor Cooling/Heating Unit 67kW | Unit
B-035 | Outdoor Cooling/Heating Unit 73kW | Unit
B-036 | Outdoor Cooling/Heating Unit 78.5kW | Unit
B-037 | Outdoor Cooling/Heating Unit 85kW | Unit
B-038 | Outdoor Cooling/Heating Unit 90kW | Unit
Modular Simultaneous Cooling and Heating VRF Outdoor Units
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
B-039 | Outdoor Cooling/Heating Unit 25kW | Unit
B-040 | Outdoor Cooling/Heating Unit 28kW | Unit
B-041 | Outdoor Cooling/Heating Unit 33kW | Unit
B-042 | Outdoor Cooling/Heating Unit 40kW | Unit
B-043 | Outdoor Cooling/Heating Unit 45kW | Unit
VRF Outdoor Units
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
B-044 | Outdoor Cooling/Heating 40KBTU/h | Unit
B-045 | Outdoor Cooling/Heating from 27KBTU/h to 34KBTU/h | Unit
B-046 | Outdoor Cooling/Heating from 75KBTU/h to 89KBTU/h | Unit
B-047 | Outdoor Cooling/Heating from 130KBTU/h to 150KBTU/h | Unit
B-048 | Outdoor Cooling/Heating from 27KBTU/h to 164KBTU/h | Unit
B-049 | Outdoor Cooling/Heating from 27KBTU/h to 272KBTU/h | Unit
-If a unit or system with the exact same capacity does not exist in the offered manufacturer range, please provide the closest capacity unit or system that is available by the manufacturer.
-Please add items that are relevant to the specific manufacturer if not listed above.
-Simultaneous cooling and heating VRF are commonly known as Heat Recovery systems, or 3 pipe systems (it is recognized that some manufacturers have simultaneous cooling and heating with 2 pipe systems).
-Please provide hot water solutions using heat recovery systems.

## VRF Indoor Units
VRF Indoor Units (Wall Mounted)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-001 | Indoor Cooling/Heating Unit 7KBTU/h | Unit
C-002 | Indoor Cooling/Heating Unit 9KBTU/h | Unit
C-003 | Indoor Cooling/Heating Unit 12KBTU/h | Unit
C-004 | Indoor Cooling/Heating Unit 15KBTU/h | Unit
C-005 | Indoor Cooling/Heating Unit 18KBTU/h | Unit
C-006 | Indoor Cooling/Heating Unit 24KBTU/h | Unit
VRF Indoor Units (1 Way Ceiling Cassette)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-007 | Indoor Cooling/Heating Unit 7KBTU/h | Unit
C-008 | Indoor Cooling/Heating Unit 9KBTU/h | Unit
C-009 | Indoor Cooling/Heating Unit 12KBTU/h | Unit
C-010 | Indoor Cooling/Heating Unit 15KBTU/h | Unit
C-011 | Indoor Cooling/Heating Unit 18KBTU/h | Unit
C-012 | Indoor Cooling/Heating Unit 24KBTU/h | Unit
VRF Indoor Units (2 Way Ceiling Cassette)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-013 | Indoor Cooling/Heating Unit 7KBTU/h | Unit
C-014 | Indoor Cooling/Heating Unit 9KBTU/h | Unit
C-015 | Indoor Cooling/Heating Unit 12KBTU/h | Unit
C-016 | Indoor Cooling/Heating Unit 15KBTU/h | Unit
C-017 | Indoor Cooling/Heating Unit 18KBTU/h | Unit
C-018 | Indoor Cooling/Heating Unit 24KBTU/h | Unit
VRF Indoor Units (4 Way Ceiling Cassette)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-019 | Indoor Cooling/Heating Unit 9KBTU/h | Unit
C-020 | Indoor Cooling/Heating Unit 12KBTU/h | Unit
C-021 | Indoor Cooling/Heating Unit 15KBTU/h | Unit
C-022 | Indoor Cooling/Heating Unit 18KBTU/h | Unit
C-023 | Indoor Cooling/Heating Unit 24KBTU/h | Unit
C-024 | Indoor Cooling/Heating Unit 28KBTU/h | Unit
C-025 | Indoor Cooling/Heating Unit 30KBTU/h | Unit
C-026 | Indoor Cooling/Heating Unit 38KBTU/h | Unit
C-027 | Indoor Cooling/Heating Unit 42KBTU/h | Unit
C-028 | Indoor Cooling/Heating Unit 48KBTU/h | Unit
VRF Indoor Units (Ceiling or Floor Mounted)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-029 | Indoor Cooling/Heating Unit 9KBTU/h | Unit
C-030 | Indoor Cooling/Heating Unit 12KBTU/h | Unit
C-031 | Indoor Cooling/Heating Unit 15KBTU/h | Unit
C-032 | Indoor Cooling/Heating Unit 18KBTU/h | Unit
C-033 | Indoor Cooling/Heating Unit 24KBTU/h | Unit
C-034 | Indoor Cooling/Heating Unit 28KBTU/h | Unit
C-035 | Indoor Cooling/Heating Unit 30KBTU/h | Unit
C-036 | Indoor Cooling/Heating Unit 36KBTU/h | Unit
C-037 | Indoor Cooling/Heating Unit 48KBTU/h | Unit
VRF Indoor Units (Floor Standing)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-038 | Indoor Cooling/Heating Unit 7KBTU/h | Unit
C-039 | Indoor Cooling/Heating Unit 9KBTU/h | Unit
C-040 | Indoor Cooling/Heating Unit 12KBTU/h | Unit
C-041 | Indoor Cooling/Heating Unit 15KBTU/h | Unit
C-042 | Indoor Cooling/Heating Unit 18KBTU/h | Unit
C-043 | Indoor Cooling/Heating Unit 24KBTU/h | Unit
C-044 | Indoor Cooling/Heating Unit 28KBTU/h | Unit
VRF Indoor Units (Ceiling Suspended)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-045 | Indoor Cooling/Heating 18KBTU/h | Unit
C-046 | Indoor Cooling/Heating 24KBTU/h | Unit
VRF Indoor Units (Control)
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
C-047 | Infrared Remote Control | Unit
C-048 | Simple Wired Remote Control | Unit
C-049 | Advanced Wired Remote Control | Unit
-If a unit or system with the exact same capacity does not exist in the offered manufacturer range, please provide the closest capacity unit or system that is available by the manufacturer.
-Please add items that are relevant to the specific manufacturer if not listed above.
-The price for Ceiling Cassette Units should include the standard "Decoration Panel".
-Please mention the standard remote control included in the price of the unit -if any-, also please list the remote control options for the unit.

## REFNETS and Kits
Joints, Headers and Kits for 2 Pipe Systems
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
D-001 | Joints For 2 Outdoor Units | Unit
D-002 | Joints For 3 Outdoor Units | Unit
D-003 | Joints For 4 Outdoor Units | Unit
D-004 | Joints For Indoor Units (Capacity≤16.6kW) | Unit
D-005 | Joints For Indoor Units (16.6kW<Capacity≤33kW) | Unit
D-006 | Joints For Indoor Units (33kW<Capacity≤66kW) | Unit
D-007 | Joints For Indoor Units (66kW<Capacity≤92kW) | Unit
D-008 | Joints For Indoor Units (92kW<capacity) | Unit
D-009 | Header (Max 4 branch - Multiple Capacities) | Unit
D-010 | Header (Max 8 branch - Multiple Capacities) | Unit
D-011 | Outdoor Unit Multi Piping Connection Kit (Multiple Capacities) | Unit
Joints, Headers and Kits for 3 Pipe Systems
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
D-012 | Joints For 2 Outdoor Units | Unit
D-013 | Joints For 3 Outdoor Units | Unit
D-014 | Joints For 4 Outdoor Units | Unit
D-015 | Joints For Indoor Units (Capacity≤16.6kW) | Unit
D-016 | Joints For Indoor Units (16.6kW<Capacity≤33kW) | Unit
D-017 | Joints For Indoor Units (33kW<Capacity≤66kW) | Unit
D-018 | Joints For Indoor Units (66kW<Capacity≤92kW) | Unit
D-019 | Joints For Indoor Units (92kW<capacity) | Unit
D-020 | Header (Max 4 branch - Multiple Capacities) | Unit
D-021 | Header (Max 8 branch - Multiple Capacities) | Unit
D-022 | Outdoor Unit Multi Piping Connection Kit (Multiple Capacities) | Unit
Single-Port/Multi-Port Branch Selector Box for 3 Pipe Systems
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
D-023 | Branch Selector Box 1 Port/Branch Multiple Capacities | Unit
D-024 | Branch Selector Box 2 Port/Branch | Unit
D-025 | Branch Selector Box 4 Port/Branch | Unit
D-026 | Branch Selector Box 6 Port/Branch | Unit
D-027 | Branch Selector Box 8 Port/Branch | Unit
D-028 | Branch Selector Box 10 Port/Branch | Unit
D-029 | Branch Selector Box 12 Port/Branch | Unit
-If an item with the exact same capacity/number or ports/branches does not exist in the offered manufacturer range, please provide the closest item that is available by the manufacturer.
-Please add all relevant items to the specific offered manufacturer, we do acknowledge that different manufactures have different configurations/combinations than the above-listed items.
-Different manufacturers have different names for the "Branch Selector Box" such as: Branch Circuit Controller, Change-over Box, Flow Selector Unit, Refrigerant Branch Unit etc.…

## Ventilation Systems
Ventilation System
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
E-001 | Ventilation System (Fresh-Air) (Multiple Capacities in CMH) | Unit
E-002 | Ventilation System (Fresh-Air) with Humidity Control (Multiple Capacities in CMH) | Unit
E-003 | Controlled Temperature Ventilation System (Fresh-Air) (Multiple Capacities in CMH) | Unit
E-004 | Controlled Temperature Ventilation System (Fresh-Air) with Humidity Control (Multiple Capacities in CMH) | Unit
-Please list all available capacities included in the manufacturer range.
-Please list standalone systems and systems that can be connected to the VRF system of the manufacturer.

## Control and Automation
Centralized Remote Controller
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
F-001 | Simple Centralized Remote Controller | Unit
F-002 | Advanced Centralized Remote Controller | Unit
Presence Sensors
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
F-003 | Simple Access Card Interface Module | Unit
F-004 | Advanced Access Card Interface Module | Unit
F-005 | Presence Sensor | Unit
BMS Integration
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
F-006 | BACnet Gateway | Unit
F-007 | KNX Gateway | Unit
F-008 | LonWorks Gateway | Unit
F-009 | MODBUS Gateway | Unit
F-010 | Software for integration with BMS | Unit
Manufacturer Management, Control and Automation Software
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
F-011 | Manufacturer Standalone software for management, control and automation of the system | Unit
-Please list additional items if needed.

## Installation
Standalone Split System Wall Mounted Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-001 | Installation of Split System Wall Mounted 9KBTU/h including Refrigerant charging, holders and start-up | Unit
G-002 | Installation of Split System Wall Mounted 12KBTU/h including Refrigerant charging, holders and start-up | Unit
G-003 | Installation of Split System Wall Mounted 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-004 | Installation of Split System Wall Mounted 24KBTU/h including Refrigerant charging, holders and start-up | Unit
G-005 | Installation of Split System Wall Mounted 30KBTU/h including Refrigerant charging, holders and start-up | Unit
G-006 | Installation of Split System Wall Mounted 36KBTU/h including Refrigerant charging, holders and start-up | Unit
Standalone Split System Ceiling Cassette Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-007 | Installation of Split System Ceiling Cassette 24KBTU/h including Refrigerant charging, holders and start-up | Unit
G-008 | Installation of Split System Ceiling Cassette 42KBTU/h including Refrigerant charging, holders and start-up | Unit
G-009 | Installation of Split System Ceiling Cassette 48KBTU/h including Refrigerant charging, holders and start-up | Unit
G-010 | Installation of Split System Ceiling Cassette 51KBTU/h including Refrigerant charging, holders and start-up | Unit
Standalone Split System Ceiling Suspended Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-011 | Installation of Split System Ceiling Suspended 12KBTU/h including Refrigerant charging, holders and start-up | Unit
G-012 | Installation of Split System Ceiling Suspended 24KBTU/h including Refrigerant charging, holders and start-up | Unit
G-013 | Installation of Split System Ceiling Suspended 42KBTU/h including Refrigerant charging, holders and start-up | Unit
G-014 | Installation of Split System Ceiling Suspended 48KBTU/h including Refrigerant charging, holders and start-up | Unit
Standalone Split System Floor Standing Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-015 | Installation of Split System Floor Standing 27KBTU/h including Refrigerant charging, holders and start-up | Unit
G-016 | Installation of Split System Floor Standing 48KBTU/h including Refrigerant charging, holders and start-up | Unit
G-017 | Installation of Split System Floor Standing 72KBTU/h including Refrigerant charging, holders and start-up | Unit
Mini VRF Outdoor Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-018 | Installation of Mini VRF Outdoor Unit 8kW including Refrigerant charging, holders and start-up
G-019 | Installation of Mini VRF Outdoor Unit 10kW including Refrigerant charging, holders and start-up
G-020 | Installation of Mini VRF Outdoor Unit 12kW including Refrigerant charging, holders and start-up
G-021 | Installation of Mini VRF Outdoor Unit 14kW including Refrigerant charging, holders and start-up
G-022 | Installation of Mini VRF Outdoor Unit 16kW including Refrigerant charging, holders and start-up
G-023 | Installation of Mini VRF Outdoor Unit 18kW including Refrigerant charging, holders and start-up
G-024 | Installation of Mini VRF Outdoor Unit 20kW including Refrigerant charging, holders and start-up
G-025 | Installation of Mini VRF Outdoor Unit 22kW including Refrigerant charging, holders and start-up
G-026 | Installation of Mini VRF Outdoor Unit 26kW including Refrigerant charging, holders and start-up
Standalone VRF Outdoor Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-027 | Installation of standalone VRF Outdoor Unit 25kW including Refrigerant charging, holders and start-up
G-028 | Installation of standalone VRF Outdoor Unit 28kW including Refrigerant charging, holders and start-up
G-029 | Installation of standalone VRF Outdoor Unit 33kW including Refrigerant charging, holders and start-up
G-030 | Installation of standalone VRF Outdoor Unit 40kW including Refrigerant charging, holders and start-up
G-031 | Installation of standalone VRF Outdoor Unit 45kW including Refrigerant charging, holders and start-up
G-032 | Installation of standalone VRF Outdoor Unit 50kW including Refrigerant charging, holders and start-up
G-033 | Installation of standalone VRF Outdoor Unit 56kW including Refrigerant charging, holders and start-up
G-034 | Installation of standalone VRF Outdoor Unit 61kW including Refrigerant charging, holders and start-up
G-035 | Installation of standalone VRF Outdoor Unit 67kW including Refrigerant charging, holders and start-up
G-036 | Installation of standalone VRF Outdoor Unit 73kW including Refrigerant charging, holders and start-up
G-037 | Installation of standalone VRF Outdoor Unit 78.5kW including Refrigerant charging, holders and start-up
G-038 | Installation of standalone VRF Outdoor Unit 85kW including Refrigerant charging, holders and start-up
G-039 | Installation of standalone VRF Outdoor Unit 90kW including Refrigerant charging, holders and start-up
Modular VRF Outdoor Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-040 | Installation of modular VRF Outdoor Unit 25kW including Refrigerant charging, holders and start-up | Unit
G-041 | Installation of modular VRF Outdoor Unit 28kW including Refrigerant charging, holders and start-up | Unit
G-042 | Installation of modular VRF Outdoor Unit 33kW including Refrigerant charging, holders and start-up | Unit
G-043 | Installation of modular VRF Outdoor Unit 40kW including Refrigerant charging, holders and start-up | Unit
G-044 | Installation of modular VRF Outdoor Unit 45kW including Refrigerant charging, holders and start-up | Unit
G-045 | Installation of modular VRF Outdoor Unit 50kW including Refrigerant charging, holders and start-up | Unit
G-046 | Installation of modular VRF Outdoor Unit 56kW including Refrigerant charging, holders and start-up | Unit
G-047 | Installation of modular VRF Outdoor Unit 61kW including Refrigerant charging, holders and start-up | Unit
G-048 | Installation of modular VRF Outdoor Unit 67kW including Refrigerant charging, holders and start-up | Unit
G-049 | Installation of modular VRF Outdoor Unit 73kW including Refrigerant charging, holders and start-up | Unit
G-050 | Installation of modular VRF Outdoor Unit 78.5kW including Refrigerant charging, holders and start-up | Unit
G-051 | Installation of modular VRF Outdoor Unit 85kW including Refrigerant charging, holders and start-up | Unit
G-052 | Installation of modular VRF Outdoor Unit 90kW including Refrigerant charging, holders and start-up | Unit
Modular Simultaneous Cooling and Heating VRF Outdoor Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-053 | Installation of modular SCH VRF Outdoor Unit 25kW including Refrigerant charging, holders and start-up | Unit
G-054 | Installation of modular SCH VRF Outdoor Unit 28kW including Refrigerant charging, holders and start-up | Unit
G-055 | Installation of modular SCH VRF Outdoor Unit 33kW including Refrigerant charging, holders and start-up | Unit
G-056 | Installation of modular SCH VRF Outdoor Unit 40kW including Refrigerant charging, holders and start-up | Unit
G-057 | Installation of modular SCH VRF Outdoor Unit 45kW including Refrigerant charging, holders and start-up | Unit
VRF Indoor (Wall Mounted) Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-058 | Installation of VRF Indoor (Wall Mounted) Unit 7KBTU/h including Refrigerant charging, holders and start-up | Unit
G-059 | Installation of VRF Indoor (Wall Mounted) Unit 9KBTU/h including Refrigerant charging, holders and start-up | Unit
G-060 | Installation of VRF Indoor (Wall Mounted) Unit 12BTU/h including Refrigerant charging, holders and start-up | Unit
G-061 | Installation of VRF Indoor (Wall Mounted) Unit 15KBTU/h including Refrigerant charging, holders and start-up | Unit
G-062 | Installation of VRF Indoor (Wall Mounted) Unit 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-063 | Installation of VRF Indoor (Wall Mounted) Unit 24KBTU/h including Refrigerant charging, holders and start-up | Unit
VRF Indoor (1 Way Ceiling Cassette) Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-064 | Installation of VRF Indoor (1 Way Ceiling Cassette) Unit 7KBTU/h including Refrigerant charging, holders and start-up | Unit
G-065 | Installation of VRF Indoor (1 Way Ceiling Cassette) Unit 9KBTU/h including Refrigerant charging, holders and start-up | Unit
G-066 | Installation of VRF Indoor (1 Way Ceiling Cassette) Unit 12BTU/h including Refrigerant charging, holders and start-up | Unit
G-067 | Installation of VRF Indoor (1 Way Ceiling Cassette) Unit 15KBTU/h including Refrigerant charging, holders and start-up | Unit
G-068 | Installation of VRF Indoor (1 Way Ceiling Cassette) Unit 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-069 | Installation of VRF Indoor (1 Way Ceiling Cassette) Unit 24KBTU/h including Refrigerant charging, holders and start-up | Unit
VRF Indoor (2 Way Ceiling Cassette) Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-070 | Installation of VRF Indoor (2 Way Ceiling Cassette) Unit 7KBTU/h including Refrigerant charging, holders and start-up | Unit
G-071 | Installation of VRF Indoor (2 Way Ceiling Cassette) Unit 9KBTU/h including Refrigerant charging, holders and start-up | Unit
G-072 | Installation of VRF Indoor (2 Way Ceiling Cassette) Unit 12BTU/h including Refrigerant charging, holders and start-up | Unit
G-073 | Installation of VRF Indoor (2 Way Ceiling Cassette) Unit 15KBTU/h including Refrigerant charging, holders and start-up | Unit
G-074 | Installation of VRF Indoor (2 Way Ceiling Cassette) Unit 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-075 | Installation of VRF Indoor (2 Way Ceiling Cassette) Unit 24KBTU/h including Refrigerant charging, holders and start-up | Unit
VRF Indoor (4 Way Ceiling Cassette) Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-076 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 9KBTU/h including Refrigerant charging, holders and start-up | Unit
G-077 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 12BTU/h including Refrigerant charging, holders and start-up | Unit
G-078 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 15KBTU/h including Refrigerant charging, holders and start-up | Unit
G-079 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-080 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 24KBTU/h including Refrigerant charging, holders and start-up | Unit
G-081 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 28KBTU/h including Refrigerant charging, holders and start-up | Unit
G-082 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 30KBTU/h including Refrigerant charging, holders and start-up | Unit
G-083 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 38KBTU/h including Refrigerant charging, holders and start-up | Unit
G-084 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 42KBTU/h including Refrigerant charging, holders and start-up | Unit
G-085 | Installation of VRF Indoor (4 Way Ceiling Cassette) Unit 48KBTU/h including Refrigerant charging, holders and start-up | Unit
VRF Indoor (Ceiling or Floor Mounted) Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-086 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 9KBTU/h including Refrigerant charging, holders and start-up | Unit
G-087 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 12BTU/h including Refrigerant charging, holders and start-up | Unit
G-088 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 15KBTU/h including Refrigerant charging, holders and start-up | Unit
G-089 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-090 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 24KBTU/h including Refrigerant charging, holders and start-up | Unit
G-091 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 28KBTU/h including Refrigerant charging, holders and start-up | Unit
G-092 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 30KBTU/h including Refrigerant charging, holders and start-up | Unit
G-093 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 36KBTU/h including Refrigerant charging, holders and start-up | Unit
G-094 | Installation of VRF Indoor (Ceiling or Floor Mounted) Unit 48KBTU/h including Refrigerant charging, holders and start-up | Unit
VRF Indoor (Floor Standing) Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-095 | Installation of VRF Indoor (Floor Standing) Unit 7KBTU/h including Refrigerant charging, holders and start-up | Unit
G-096 | Installation of VRF Indoor (Floor Standing) Unit 9KBTU/h including Refrigerant charging, holders and start-up | Unit
G-097 | Installation of VRF Indoor (Floor Standing) Unit 12BTU/h including Refrigerant charging, holders and start-up | Unit
G-098 | Installation of VRF Indoor (Floor Standing) Unit 15KBTU/h including Refrigerant charging, holders and start-up | Unit
G-099 | Installation of VRF Indoor (Floor Standing) Unit 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-100 | Installation of VRF Indoor (Floor Standing) Unit 24KBTU/h including Refrigerant charging, holders and start-up | Unit
G-101 | Installation of VRF Indoor (Floor Standing) Unit 28KBTU/h including Refrigerant charging, holders and start-up | Unit
VRF Indoor (Ceiling Suspended) Unit Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-102 | Installation of VRF Indoor (Ceiling Suspended) Unit 18KBTU/h including Refrigerant charging, holders and start-up | Unit
G-103 | Installation of VRF Indoor (Ceiling Suspended) Unit 24KBTU/h including Refrigerant charging, holders and start-up | Unit
Standalone Split Units Copper Pipe Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-104 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 3/8x1/4" | Meter
G-105 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 1/2x1/4" | Meter
G-106 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 5/8x3/8" | Meter
G-107 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 3/4x3/8" | Meter
G-108 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 3/4x1/2" | Meter
G-109 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 7/8x3/8" | Meter
G-110 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 7/8x1/2" | Meter
G-111 | Installation of copper pipe between indoor and outdoor units with 13mm insulation 1 1/8x3/8" | Meter
VRF Copper Pipe Supply and Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-112 | Supply and installation of copper pipe between indoor units for VRF system with 13mm insulation 1/4"x0.03" | Meter
G-113 | Supply and installation of copper pipe between indoor units for VRF system with 13mm insulation 3/8"x0.03" | Meter
G-114 | Supply and installation of copper pipe between indoor units for VRF system with 13mm insulation 1/2"x0.032" | Meter
G-115 | Supply and installation of copper pipe between indoor units for VRF system with 13mm insulation 5/8"x0.035" | Meter
G-116 | Supply and installation of copper pipe between indoor units for VRF system with 13mm insulation 3/4"x0.035" | Meter
G-117 | Supply and installation of copper pipe between indoor units for VRF system with 19mm insulation 7/8"x0.045" | Meter
G-118 | Supply and installation of copper pipe between indoor units for VRF system with 19mm insulation 1 1/8"x0.05" | Meter
G-119 | Supply and installation of copper pipe between indoor units for VRF system with 19mm insulation 1 3/8"x0.055" | Meter
G-120 | Supply and installation of copper pipe between indoor units for VRF system with 19mm insulation 1 5/8"x0.06" | Meter
G-121 | Supply and installation of copper pipe between indoor units for VRF system with 19mm insulation 2 1/8"x0.07" | Meter
Darinage Pipe Supply and Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-122 | Supply and installation of PVC Condensate pipes and fittings complete with 13mm thick foam insulation 19mm diameter | Meter
G-123 | Supply and installation of PVC Condensate pipes and fittings complete with 13mm thick foam insulation 25mm diameter | Meter
G-124 | Supply and installation of PVC Condensate pipes and fittings complete with 13mm thick foam insulation 32mm diameter | Meter
G-125 | Supply and installation of PVC Condensate pipes and fittings complete with 13mm thick foam insulation 40mm diameter | Meter
Control Cables Supply and Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-126 | Supply and installtion of control cables | Meter
Ducting (Sheet Metal Ducts) Supply and Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-127 | Supply & installation of G90 Sheet Metal Ductwork, including supports and all needed accessories. | Kilogram
HEPA Filters Supply and Installation
FA Item Code | Item Description | Unit | Unit Price (USD) | Brand and Model | Country of Origin | Delivery Terms | Warranty Period
G-128 | Supply & installation of H14 HEPA Filter, 24"x12"x12", complete with G90 Metal Sheet Box | Unit
G-129 | Supply & installation of H14 HEPA Filter, 24"x24"x12", complete with G90 Metal Sheet Box | Unit
-Please list any additional items.
-Please include any additional combinations of insulation, diameter, thikness under "Standalone Split Units Copper Pipe Installation", "VRF Copper Pipe Supply and Installation" and "Darinage Pipe Supply and Installation".
-Please include the price of supply and installtion under "Standalone Split Units Copper Pipe Installation" if copper pipes between indoor and outdoor units are not provided with the units. It is generally assumed that the insatllation cost of standalone split units should include both the copper pipes and its installation.
-Please note that all counduits required for the control cables would be provided and installed by UNHCR electrical contractar as per the design, specifications and requirements.