## Assorted items - Lot 1
Annex B-Technical Specifications RFQ REF: 2023/SOP/SCU/RFQ/032
S. No. | Requirement | Qty | Specifications / content (where applicable)
1 | Air Conditioners | 9 | 18000 BTU, DC split inverters 1.5 tons, 1 year warranty
2 | Sound System | 2 | Sound system with MIC Audionic Wireless BT Speaker Model : MH-150 or equalent with two mics, 1 year warranty
3 | MP3 Player | 50 | MP3 Player with necessary cord/USB for recording/ Listening lectures Model : Sony ICD-PX470 Digital Voice Recorder with USB or equalent, 1 year warranty
4 | LEDs TV 42 Inches for Classrooms | 5 | With latest Wifi connectivity features Model : AU8000 UHD 4K Smart TV or equalent, 1 year warranty
5 | LEDs TV 72” | 4 | With latest Wifi connectivity features Model : QN85A QLED 4K Smart TV 75" or equalent, 1 year warranty
6 | LED Smart TV (FHD Quality) 50 inches | 3 | (FHD Quality) 50 inches with one year local warranty (TCL)
7 | Hot and Cold Electric Water Coolers 45 liters | 5 | With water filter and stabilizer 45 liters, 1 year warranty
8 | Heavy duty automatic washing machine | 3 | Automatic washing machine with Spinner and dryer, 9 kgs, 1 year warranty
9 | Vertical Deep Freezer (large size) - inverter | 3 | Temperature range: -20 C, Temperature regulation: Microprocessor controlled, Refrigerant: CFC free refrigerant, construction: double walled W/PUF insulation, voltage stabilzer, Power supply: 220 - 240 volts, 50 Hz, single phase, 1 year warranty
10 | Refrigerator | 1 | 310 ltrs, Double door, Capable of working on 220 volts + 12 % A.C 50 Hz, AC, 220 Volts to , 50 Hz, Frost Free, Puff / Maxi 2 / Polyurethane, CFC free, Power saver compressor, Adjustable shelves , chiller Tray , Temperature controller, Auto lamp On/off feature , should be supplied with all standard accessories as per manufacturer catalog for the model supplied, stabilizer, 1 year warranty
11 | Ceiling Fans AC/DC: | 30 | 56 inches Khurshid fans or equivalent (high quality) (1 year warranty)
12 | Room heater (digital smart one) | 25 | Geepas CANON or equivalent GAS ROOM HEATER G-11, 1 year warranty
13 | Air Room Cooler (invertor ) | 20 | Geepas G A C373 - Big Size Air Cooler With Remote & Led Screen Control, 1 year warranty
14 | Nas Water Geysers | 2 | Nasgas Company 10 mm gauge wire with 55 Gallon capacity. DEG-55 SUPER DLX (Double Safety), 1 year warranty
Delivery / lead time:
Delivery location (DAP): |  | 1. Special Education Complex _Hayatabad Peshawar and 2. Institute of social welfare, special education in Peshawar (Distribution plan will be shared at the time of Purchase order placement)
Company Name:
Name of contact person:
Title:
Date:
Signature & Stamp: