## Summary
Annex C_ BOQ / FINANCIAL OFFER FORM - UNHCR PAKISTAN
CONSTRUCTION OF CLASS ROOMS AND SOLARIZATION OF GPS No. 01 SENI GUMBAT, DISTRICT KOHAT
SUMMARY
ENGINEER'S ESTIMATE
S.No | DESCRIPTION | TOTAL AMOUNT (Rs.)
1 | Civil Works
2 | Electrical & Solarization Works
3 | Plumbing Works
Total Cost (Rs.)

## GPS Seni Gumbat , Kohat-Civil
UNHCR PAKISTAN
CONSTRUCTION OF CLASS ROOMS AND SOLARIZATION OF GPS No. 01 SENI GUMBAT, DISTRICT KOHAT
ENGINEER'S ESTIMATE
CIVIL WORKS
ITEM NO. | KPK MRS 2022 REF. NO. / NS (2nd BI ANNUAL) | DESCRIPTION | UNIT |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | SCHOOL BUILDING
CIVIL WORKS- 4 No.(2+2) CLASS ROOM, OFFICE, STAFF ROOM & 3 No. TOILET
EARTHWORK (EXCAVATION AND EMBANKMENT)
1 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 4450
2 | 03-18-d | Filling, watering and ramming earth under floor with earth excavated from outside lead upto 30m | 1000 | Cft | 450
3 | 03-19-a | Extra for every 15 m extra lead or part thereof for earthwork soft, ordinary, hard & very hard (for 16 No. of trip) (apply 169.32 x No. of Trip) | 1000 | Cft | 200
4 | 03-20-a | Transportation of earth all types beyond 250 m and upto 500 m. | 1000 | Cft | 250
5 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 6390
6 | 03-67-d | Structural Backfill using Granular Material brought from outside | 1000 | Cft | 2870
CONCRETE
7 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 500
8 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 70
9 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 890
10 | 06-07-a-02 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) | 100 | Cft. | 2010
11 | 06-07-a-02 +06-07-e | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) in 2nd storey. | 100 | Cft. | 1360
12 | 06-07-a-02 +2x(06-07-e) | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) in 3rd storey. | 100 | Cft. | 460
13 | 06-07-b-02 | RCC in raft foundation slab, base slab of column & ret.wall etc, not including in 06-06 (1:1.5:3) | 100 | Cft. | 1300
14 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 14600
15 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 7040 |  |  | 260000 | 0
16 | 06-23 | Fill expansion joints with bitumen, sand & saw dust in Ratio 1:2:2 | 1 | Rft | 55
17 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 3620
18 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 8310
BRICK MASONRY
19 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 1585
20 | 07-05-a-04 + 07-06-a | 1st class brick work in first floor in Cement, sand mortar 1:5 | 100 | Cft. | 1275
21 | 07-05-a-04 + 07-06-b | 1st class brick work in 2nd floor in Cement, sand mortar 1:5 | 100 | Cft. | 230
ROOFING
22 | 09-11-a | Earth filling over roof including watering, ramming etc 3" thick earth filling and 1" mud plaster | 100 | Sft. | 1440
23 | 09-16 | Khuras on roof 2'x2'x6" | 1 | Each | 5.183
FLOORING
24 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft. | 30
25 | 10-12 + 2x10-18 | Brick tiles (9"x4.5"x1.5") laid flat in 1:3 c/s mortar over a bed of 3/4" thick cement mortar 1:6 | 100 | Sft. | 1440
26 | 10-14-b | Cement concrete tiles laid in 1:2 c/s mortar over 3/4" thick bed of c/s mortar 1:2: 12" x 12" x 1" | 100 | Sft. | 170
27 | 10-26-c-iii | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. Ground Floor | 100 | Sft. | 1270
28 | 10-26-c-iii+ 10-18 | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. 1st Floor | 100 | Sft. | 1090
29 | 10-26-c-iii+ 2x10-18 | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. 2nd Floor | 100 | Sft. | 20
30 | 10-26-e | Providing and Laying marble fine dressed stone 4-5 feet and 12" wide 1" thick for stairs steps | 100 | Sft. | 350
31 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile Wall | 100 | Sft | 330
32 | 10-44 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints setover 1/2" thick roughcast 1:4 cement sand plaster.Ground Floor | 100 | Sft. | 190
33 | 10-44 + 10-18 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints setover 1/2" thick roughcast 1:4 cement sand plaster.1st Floor | 100 | Sft. | 150
34 | 10-44 + 10-18 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints setover 1/2" thick roughcast 1:4 cement sand plaster.2nd Floor | 100 | Sft. | 5
35 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 110
SURFACE RENDERING
36 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 6180
37 | 11-09-b + 11-26 | Cement plaster 1:4 from 20' to 30' height 1/2" thick | 100 | Sft. | 3450
38 | 11-10-c | Cement plaster 3/8" thick under soffit of RCC roof slabs only upto 20' height : (1:4) | 100 | Sft. | 1360
39 | 11-10-c +11-26 | Cement plaster 3/8" thick under soffit of RCC roof slabs only from 20' to 30' height : (1:4) | 100 | Sft. | 1230
40 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft. | 2270
41 | 11-18-b +11-26 | Cement pointing struck joints, on walls, from 20' to 30' height : Ratio 1:3 | 100 | Sft. | 470
42 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft. | 2740
PAINTING AND VARNISHING
43 | 11-20-a | Priming coat of chalk under distemper | 100 | Sft. | 2590
44 | 11-20-b | Providing and applying wall putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete. | 100 | Sft. | 2590
45 | 11-21-a-03 | Distempering New surface : Three coats | 100 | Sft. | 2590
46 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 5050
47 | 13-22-a | Preparing surface and painting with emulsion paint : upto 20' height First coat. | 100 | Sft. | 5330
48 | 13-22-b | Preparing surface and painting with emulsion paint : upto 20' height 2nd & each subsequent coat. (two coats) | 100 | Sft. | 10660
49 | 13-22-a +13-24 | Preparing surface and painting with emulsion paint, from 20' to 30' height: First coat. | 100 | Sft. | 1390
50 | 13-22-b +13-24 | Preparing surface and painting with emulsion paint, from 20' to 30' height: 2nd & each subsequent coat. (two coats) | 100 | Sft. | 2780
51 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 850
52 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 1700
53 | 13-25-a +13-24 | Preparing surface & painting with snowcem / weather shield paint 20' to 30': First coat | 100 | Sft. | 2060
54 | 13-25-b +13-24 | Preparing surface & painting with snowcem / weather shield paint 20' to30': 2nd & subsequent coats. | 100 | Sft. | 4120
PLUMBING WORKS
55 | 14-97 | Supply of 150 Micron Polythene sheet of approved quality | 1 | Kg | 21
56 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 85
IRON WORK
57 | 12-61 | MS flat 1/2"x1/8" grill in windows of approved design | 1 | Sft | 431
58 | 12-70-a | Supply and Fixing MS Sheet 16 guage(10'' x 2'') box type chowkats including fixing in position with all charges for Hold fast, Hinges and Painting etc | 1 | Rft | 267
59 | 25-39-b-05 | Providing and Fixing steel windows 18 gauge with openable glazed panels With 22 SWG wire gauze :Glass pane 5mm | 1 | Sft | 431
60 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 389
61 | 25-47 | Supply and fixing of fancy type stainless steel chromium plate 2" dia pipes stair railing 3/4" dia pipe fixed on specified space on steps in horizontal positions, complete in all respects | 1 | Rft | 50
MISCELLANEOUS
62 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 5420
63 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 650
B |  | CIVIL WORKS - EXTERNAL SEWERAGE (SEPTIC TANK)
EARTHWORK (EXCAVATION AND EMBANKMENT)
64 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 150
65 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 | Cft | 665
CONCRETE
66 | 06-05-i | Plain Cement Concrete inluding placing, compacting, finishing and curing ( Ratio 1:4:8) | 100 | Cft | 25
67 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft | 280
68 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 70
69 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 620
70 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 370 |  |  | 260000 | 0
71 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 80
72 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 635
SURFACE RENDERING
73 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 150
74 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 600
C |  | BOUNDARY WALL & GATE
75 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 110
76 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 300
77 | 04-13' | Dismantling brick work in lime or cement mortar | 100 | Cft | 490
78 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 450
79 | 06-07-a-02 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) | 100 | Cft. | 190
80 | 06-07-b-02 | RCC in raft foundation slab, base slab of column & ret.wall etc, not including in 06-06 (1:1.5:3) | 100 | Cft. | 55
81 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 880
82 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 390 |  |  | 260000 | 0
83 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 30
84 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 640
85 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 310
86 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 830
87 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft. | 415
88 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft. | 415
89 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 570
90 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 835
91 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 1670
92 | 25-45-b | Supplying and Fixing 18 SWG MS Sheet Gate with angle iron frame (2"x2"x3/16") with side window, lock, painting etc.(7'x7') 1 No | 1 | Sft | 49
93 | 25-60-a | Supply and fixing razor wire (2'-0" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6" long 6' to 8' center to center embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc. Complete in all respects. | 1 | Rft | 100
94 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 80
D |  | DRAIN WORKS
95 | 03-25-b | Excavation in foundation of building, bridges,drain etc complete : in ordinary soil. | 1000 | Cft | 470
96 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 250
97 | 06-46-b | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft | 450
98 | 23-03-a-01 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B,including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring,cutting pipes where necessary, testing, etc. complete:-12" i/d, wall thickness 2". | 1 | Rft | 20
Cost of Scheduled Items (Rs.)
Add 3% above on Scheduled Item for District Kohat (Rs.)
Total Cost of Scheduled Items (Rs.)
E |  | NON-SCHEDULED ITEMS
GENERAL NOTE
Supply, installation, testing and commissioning of the following items of work, including all labour, tools, plant, accessories, etc. required for completion of each item as per specifications and as approved by the Engineer.
SURFACE RENDERING
99 | NS-01 | Provide and install white board (8'x4') of erasable marker use with smooth surface made of suitable material beading having Aluminium frame with light grey plastic corner caps complete in all respects including all accessories. | 1 | No | 4
Cost of Non-Scheduled Items (Rs.) | [6 empty] | 0
Grand Total Cost of Scheduled Items & Non-Scheduled Items (Rs.) | [6 empty] | 0

## Electrical & Solarization
UNHCR PAKISTAN
CONSTRUCTION OF CLASS ROOMS AND SOLARIZATION OF GPS No. 01 SENI GUMBAT, DISTRICT KOHAT
ENGINEER'S ESTIMATE
ELECTRICAL WORKS
ITEM No. | KPK MRS 2022 REF. NO. / NS (2nd BI ANNUAL) | DESCRIPTION | UNIT |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | SCHOOL BUILDING (NEW + EXISTING)
FANS & EXHAUST FANS
1 | 15-68-c | Supply and Erection best quality AC ceiling fan complete with GI rod, canopy, blades & regulator: 56" sweep. | 1 | Each | 18
2 | 15-69-a | Supply and Erection best quality exhaust fan complete with shutter & regulator : 12"sweep | 1 | Each | 3
3 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans. | 1 | Each | 18
CONDUITS & PIPES
4 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 150
WIRING ACCESSORIES
5 | 15-127-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects | 1 | No. | 2
5 | 15-127-e | Supply at site, installation, testing and commissioning of Five gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects | 1 | No. | 2
6 | 15-127-c | Supply at site, installation, testing and commissioning of Three gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | No. | 3
7 | 15-127-b | Supply at site, installation, testing and commissioning of 2 gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | No. | 3
8 | 15-156 | Supply, Installation, Connecting, testing and commissioning of 400 watt Fan dimmer, polycarbonate flame retardant with fancy gang plate fixed on die fabricated powdered coated metal board recessed in wall or column , Complete in all respects. (Separate Back box) | 1 | No. | 18
9 | 15-155-e | Supply, installation, connecting, testing & commissioning of flush type 13 Amps 3-pin simplex outlet with 3 pin switch and socket combine unit with neon bulb fixed on plastic or fiber top covered, including 14 SWG metal board with earth | 1 | No. | 16
WIRING IN CONCEALED CONDUITS,EARTHING
10 | 15-06-a | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 3/0.029"(1.5mm2). | 1 | Rft | 1700
11 | 15-06-c | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.029"(2.5mm2) . | 1 | Rft | 600
NOTE: The wiring shall be done as following.
| a | Wiring of light circuit from Distribution Board to switch, including circuit wiring between switches on the same circuit with Two nos. single core 2.5 Sqmm and One no.1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 3/4 " PVC conduits including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| b | Wiring from switch to light or fan point (1 way / 2 way) with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 1" PVC conduit including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| c | Wiring from light to light with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| d | Wiring of circuit from Distribution Board to 13A , 230 Volts, 3 pin switched socket outlet with Two nos. single core 4 sqmm and One no. 2.5 sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in 3/4" dia concealed PVC conduit laid underfloor including PVC conduit, conduit accessories, etc. complete in all respects.
| e | Wiring from 13 Amps, 3 pin socket to socket with Two nos. single core 2.5 Sqmm and One no. 1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid underfloor including PVC conduit, conduit accessories, etc.complete in all respects.
12 | 15-02-b-03 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc 1" i/d | 1 | Rft. | 300
13 | 15-02-b-02 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 3/4" i/d | 1 | Rft. | 900
14 | 15-02-b-06 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 2" i/d | 1 | Rft. | 150
15 | 15-105-h-06 | Providing & fixing of Plate type Earthing commpressed with execveted hole 6"up 63 feet,GI pipe 2"(50mm)with Tees , Sockets , Endcap of 60 (RFT) Copper Plate of 1/2"x 2"x 48", 2x 70mmsq S/Core copper bare conductor 125 (Rft) Earth Connection Point of 1200 x 50 x 50mm (L x W x T) Inspection Pit of 300 x 300 x 450 mm (L x W x D) complated with all respect | 1 | Job | 1
LIGHT FIXTURES
16 | 15-36-k-02 | Supply, installation, connecting, testing and commissioning of Surface mounting LED tube light with 1x2000 lumens output and fixture, complete in all respects | 1 | No. | 28
17 | 15-36-j-12 | Supply, installation, connecting, testing & commissioning of 10W LED Down Light Fixture suitable for 1300 lux, as per instruction of Engineer, surface mounted circular shape or equivalent | 1 | No. | 14
18 | 26-01-g-04 | Supply and Erection 1x10sq.mm Copper cable Flexible AS ECC | 1 | Rft. | 500
19 | 15-122-c | 10 sq mm , 4 core PVC/PVC stranded copper conductor cable | 1 | RMtr | 350
20 | 26-01-g-07 | Supply and Erection 1x35 sq.mm Copper Flexible | 1 | Rft. | 200
21 | 15-124-a | Supply & erection of 2x10 mm2 Copper Cable | 1 | RMtr | 100
B |  | SOLAR SYSTEM (PHOTOVOLTAIC)
22 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) | 1 | Watt | 18530
23 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Watt | 18530
24 | 26-01-i-05 | Supply and Erection of off Grid Hybrid inverter with Dual MPPT charge Controler | 1 | Per Watt | 20000
25 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 18
26 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 18530
27 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft. | 4500
28 | 26-01-g-04 | Supply and Erection 1x10 sq.mm flexible copper cable | 1 | Rft. | 600
29 | 26-01-n-02 | Supply and Erection of 1x1 ft 4mm Copper Earthing Plate | 1 | Watt | 18530
30 | 6-01-n-03 | Supply and Erection of Stainless Steel Nuts and Bolts | 1 | Watt | 18530
31 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 30
32 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 20
34 | 15-11-b-06 | Supply & Erection of Change over switch 100 Amp | 1 | Each | 1
35 | 15-105-a | Supply & erection of Earth Rod | 1 | Each | 3
36 | 15-105-b | Supply & erection of Earthing wire GSL 6 mm | 1 | kg | 10
C |  | TUBE WELL
EARTHING
37 | 15-105-h-06 | Providing & fixing of Plate type Earthing compressed with execveted hole 6"up 63 feet,GI pipe 2"(50mm)with Tees , Sockets , Endcap of 60 (RFT) Copper Plate of 1/2"x 2"x 48", 2x 70mmsq S/Core copper bare conductor 125 (Rft) Earth Connection Point of 1200 x 50 x 50mm (L x W x T) Inspection Pit of 300 x 300 x 450 mm (L x W x D) completed with all respect | 1 | Job | 1
LT CABLES, CONDUITS & PIPES
Supply at site, installation, testing and commissioning of PVC insulated un-armoured copper conductor cable 600 / 1000 Volt grade (or otherwise mentioned in cable description ) in prelaid conduits / trenches to be installed as per routes shown on drawings including cost of all necessary materials, connections, identification tags, cables lugs properly crimped at both ends for the following sizes complete in all respects
38 | 15-02-b-06 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 2" i/d | 1 | Rft. | 80
39 | 15-08-F | Supply and Erection twin core PVC insulated & sheathed copper conductor 250/440 V grade cable : 7/0.064" | 1 | RMtr | 30
Total Cost of Scheduled Items (Rs.)
Add 3% above on Scheduled Item for District Kohat (Rs.)
Total Cost of Scheduled Items (Rs.)
D |  | NON-SCHEDULED ITEMS
(Ref. Specification Section-8001, 8133)
40 | NS-01 | Providing and fixing Lightning Arrestor 1" Copper rod 6ft long with 4'' Bowl five spikes complete in all respect (above top structure level) | 1 | No. | 2
41 | NS-02 | Providing and fixing Earth Connecting Point 8"x1.5"x 6-8mm insulators with complete Accessories. | 1 | No | 2
42 | NS-03 | DB-SCHOOL GF | 1 | No | 1
43 | NS-04 | DB-SCHOOL FF | 1 | No | 1
44 | NS-05 | SOLAR CONTROL PANEL | 1 | No | 2
45 | NS-06 | Supply and Erection of DC Busbar DB water proof including RYB N Busbars and 1 No MCCB complete as per Approval. | 1 | Job | 1
46 | NS-07 | Supply and Erection of MCCB 100A Including Fixing arrangement and Back Box complete in all respect. | 1 | Job | 1
Cost of Non-Scheduled Items: Rs.
Grand Total Cost of Scheduled & Non-Scheduled Items: Rs.
RECOMMENDATION FOR SOLARIZATION
1 No. 8 kw Invertor for New Rooms
1 No. 12 kw Invertor for Existing Building
14* 545 W Each Solar Panels for New Building
20* 545 W Each Solar Panels for Existing Building
18 kwh Battery Backup (8 kwh for New 10 kwh for Existing)
2 no Control Panel

## Plumbing
UNHCR PAKISTAN
CONSTRUCTION OF CLASS ROOMS AND SOLARIZATION OF GPS No. 01 SENI GUMBAT, DISTRICT KOHAT
ENGINEER'S ESTIMATE
PLUMBING WORKS
ITEM NO. | KPK MRS 2022 REF. NO. / NS (2nd BI ANNUAL) | DESCRIPTION | UNIT | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | SCHOOL BUILDING
STORM DRAINAGE PIPES & FITTINGS
1 |  | Supplying and Fixing UPVC soil waste and vent pipe class B of following diameter for storm drainage:
| 14-144-b | 4" dia | Rft | 80
| 14-144-c | 3" dia | Rft | 15
B |  | FIRE FIGHTING
2 | 14-172-a | Supplying and fixing of Dry Chemical Powder Fire Extinguisher 6Kg Capacity complete in all respect. | Each | 1
3 | 14-172-b | Supplying and fixing of Foam Type fire extinguishers capacity 12 liters complete in all respect | Each | 1
C |  | TOILET BLOCK
SANITARY FIXTURES AND FITTINGS
4 | 14-03-a + 14-25-a + 14-78 +14-157 | Providing and fitting glazed earthenware White water closet (WC), squatter type (orisa pattern) combined with foot rest, including low level plastic flushing cistern 3 gallons (13.63 litres) capacity, P-Trap (uPVC), 1/2" CP tee stop-cock, complete in all respects. | Each | 2
5 | 14-01-a +14-02-b +14-10-a +14-25-a | Providing and Fixing glazed Earthen ware White WC European type of approved make/size with plastic double seat and cover , glazed earthenware White low down flushing cistern 3 gallons (13.63 Liters) capacity including bracket set, copper connection etc, 1/2" CP tee stop-cock, complete in all respects. | Each | 1
6 | 14-05-a-01 +14-25a +14-29-a +14-45-a | Providing & Fixing glazed earthen ware White wash hand basin (WHB) with pedestal (Best Quality) complete of size 22"x16" including bracket set, waste coupling, CP swan-neck single way cock ½"dia , 1/2" CP tee stop-cocks(02 Nos.), and CP bottle trough with waste pipe 1.25"(32mm) i/d, etc. complete in all respects. | Each | 2
7 | 14-13 | Providing & Fixing CP soap dish complete. | Each | 2
8 | 14-15 | Providing & Fixing CP toilet paper holder complete. | Each | 1
9 | 14-16-a | Providing and Fixing chromium plated (CP) towel rail complete: 24" long and 3/4" dia | Each | 1
10 | 14-17-a | Providing & Fixing best quality looking glass 5mm thick neatly fitted on masonry wall etc as per instruction of Enineer in-charge complete. Mirror 60x45cm (24"x18") size | Each | 2
11 | 14-18-a | Providing & Fixing best quality 5mm glass shelf (60x13 cm) 24"x5" with chromium plated brackets & railing. | Each | 2
12 | 14-86 | Providing & fixing chromium plated double bib-cock with Muslim Shower of approved quality Complete is all respects | Each | 3
13 | 14-158 | Grab bar (ROCA make) with W.C of special person's toilet including all fittings with complete installation. | Each | 1
14 | 14-69-b-02 | Supplying and Fixing Polyethylene Water Tank made from food grade FDA Certified raw material, 3 layers UV stabilized, inert with water, anti-fungus and anti-bacterial and have a service life of more than 10 years : 400 gallons (Vertical) | Each | 1
15 | 14-160-b + 14-28-f | Electric water coolers of 40 gallons capacity, including inlet and outlet connections, gate valve on inlet, electric connection upto power socket, and all other accessories for complete installation. | Each | 1
16 | 14-161 | Triple water filter (10") including inlet and outlet connections, power supply, and all accessories for complete installation | Each | 1
17 | 23-05-a | Constructing gully grating chamber complete with CI gully trap, weighing 81 lbs. frame hinged. | Each | 1
WATER SUPPLY PIPES AND FITTINGS
18 |  | Providing, laying cutting, jointing, testing PPRC pipeline in walls/trenches with pipes (conforming to DIN 8077/8078, PN 20 of approved quality & fittings conforming to DIN 16962, PN25 of the same manufacturer) for cold/hot water supply systems including specials complete in all respect as per specifications:
| 14-35-g | 1/2" i/d (25 mm) | Rft | 30
| 14-35-a | 3/4" i/d (32 mm) | Rft | 20
19 |  | G.I. water pipes (cold and hot water, in ducts & in exposed condition) Conforming to BS-1387 (1985), Medium Grade, I/c all fittings, wraping glasswool thermal insulation with aluminium vapour barrier, making holes in concrete or masonry and then repairing holes, supports and hangers etc. of approved make of the following diameters, complete in all respects:
| 14-162-a | 1 inch | Rft | 30
| 14-162-b | 1-1/4 inch | Rft | 20
20 |  | Providing & Fixing gun metal peet/gate valve (screwed) of approved quality of following diameters:
| 14-28-g | 1 inch. | Each | 3
SOIL, WASTE AND VENT PIPES & FITTINGS
21 |  | Supplying and Fixing UPVC soil waste and vent pipe class B of following diameter for sanitary drainage:
| 14-144-a | 6" dia | Rft | 10
| 14-144-b | 4" dia | Rft | 40
| 14-144-c | 3" dia | Rft | 40
22 |  | uPVC Soil, Waste and vent pipes conforming to ISO:3633 type "B" or BS-4514/5255 class "A" ,including imported rubber ring/solvent cement fittings, jointing, cutting, and breaking concrete/masonry and then making it good, applying painting, cleaning and testing etc. complete in all respects.(for sanitary drainage)
| 14-144-d | 2" dia | Rft | 20
23 | 14-164 | uPVC Multi Floor Trap (110x75mm) including strainer; supports; making required number of connections; breaking concrete or masonry work & then making it good; etc. | Each | 5
24 |  | uPVC floor Cleanout including 2 No. 45o elbows, transition pipe, SS screwed plug/cover assembly jointed air-tight with pipe, breaking concrete or masonry work & then making it good, etc complete in all respects
| 14-165-a | (i) 3" dia | Each | 1
| 14-165-b | (ii) 4" dia | Each | 1
25 | 14-170 | Cowel on vent pipes of the following diameter. (i) 3" | Each | 1
STORM DRAINAGE PIPES & FITTINGS
26 |  | Supplying and Fixing UPVC soil waste and vent pipe class B of following diameter for storm drainage:
| 14-144-b | 4" dia | Rft | 15
D |  | EXTERNAL PLUMBING WORKS
WATER SUPPLY NETWORK
27 | 03-51 | Excavation of trench in all kinds of soils except cutting in rock for pilelines upto 1.5m depth | 1000 Cft | 1300
28 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 600
29 | 06-05-f | Plain Cement Concrete inluding placing, compacting, finishing and curing ( Ratio 1:2:4) (Thrust block & concrete encasement) | 100 Cft | 20
30 | 7-30 | Supplying and filling sand under floor or plugging in wells | 100 Cft | 600
31 | 14-154 | Supply and Installation of G.I. water pipes conforming to BS-1387 (1985), Medium Grade, I/c all fittings, wraping polythene tape, giving anticorrosion treatment, applying protective painting, making holes in concrete or masonry and then repairing holes, flushing, disinfecting, testing and commissioning etc. of the following diameters. 2" dia | Rft | 30
32 |  | G.I. water pipes (in burried conditions) conforming to BS-1387, Medium Grade, I/c all fittings, wraping polythene tape, giving anticorrosion treatment, applying protective painting, making holes in concrete or masonry and then repairing holes, flushing, disinfecting, testing and commissioning etc. of approved make, of the following diameters,complete in all respects.
| 14-163-b | 1" ( 25 mm) Nominal Pipe Size (NPS) | Rft | 10
| 14-163-c | 1¼" ( 32 mm) Nominal Pipe Size (NPS) | Rft | 10
| 14-163-d | 1½" (40 mm) Nominal Pipe Size (NPS) | Rft | 100
33 |  | Making connection with the existing system G.I pipe line including cutting the pipe for providing & fixing required fittings :
| 14-94-g | G.I Tee 1.25" dia | Each | 2
| 14-94-h | G.I Tee 1" dia | Each | 1
SANITARY SEWAGE NETWORK
34 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 Cft | 1500
35 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 800
36 | 06-05-f | Plain Cement Concrete inluding placing, compacting, finishing and curing ( Ratio 1:2:4) | 100 Cft | 30
37 | 7-30 | Supplying and filling sand under floor or plugging in wells | 100 Cft | 600
BRICK MASONRY MANHOLES
38 | 06-07-d-05 | Providing manhole size 24" x 18" (inside dimensions) as per approved design and specifications complete for 4" to 12" dia pipes upto 4 ft. (1.2 m) depth with 16" dia.Concrete Cover fixed in 4" thick RCC 1:2:4 slab (with 5 lbs per Cu.ft. or 80 kg/Cu.m of steel), burnt brick masonry walls 9" (225 mm) thick set in 1:3 cement sand mortar, 6" thick 1:3:6 cement concrete in foundation, 4" av. thickness 1:2:4 cement concrete in benching and 1/2" (13mm) thick cement sand plaster in 1:3 to all inside wall surfaces, channels and benching including making requisite number of main and branch channels but excluding the cost of excavation, back filling and disposal of excavated stuff. | Each | 3
39 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 Cft | 600
40 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 360
41 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing and curing ( Ratio 1:2:4) | 100 Cft | 20
42 | 06-05-h | Plain Cement Concrete incl. placing, compacting, finishing & curing (Ratio 1:3:6) | 100 Cft | 40
43 | 06-05-i | Plain Cement Concrete incl. placing, compacting, finishing & curing (Ratio 1:4:8) | 100 Cft | 70
44 | 07-04-a-03 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:4 | 100 Cft | 100
45 | 11-08-b | Cement plaster 1:3 upto 20' height 1/2" thick | 100 Sft | 300
46 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 Sft | 150
47 | 14-155 | Galvanised MS ladder rings 3/4" dia inside and outside water tanks; Each rung of 12" width, 6" projected outside the wall and 6" embeded in RCC on both ends; including all necessary works for complete installation | kg | 10 |  | 0
48 | 23-08-b | RCC manhole cover 22" dia with: 3"x3"x1/4" angle iron frame, 22" i/d complete | Set | 2 |  | 0
SEPTIC TANK AND SOAKAGE PIT
49 | 14-155 | Galvanised MS ladder rings 3/4" dia inside and outside water tanks; Each rung of 12" width, 6" projected outside the wall and 6" embeded in RCC on both ends; including all necessary works for complete installation | kg | 32 |  | 0
50 | 24-33-d | Supplying and fixing, cast iron manhole cover with frame, etc. (Heavey Type) of approved quality complete. 24" (600 mm) dia. | Each | 2 |  | 0
E |  | TUBE WELL
51 | 24-01-a | Mobilization of plant, equipment and camping arrangements etc & demobilization after completion | Job | 1 |  | 0
52 | 24-41 | Conducting Elec: Resistivity survey of the area and furnishing its REPORT. | No | 1 |  | 0
53 | 24-02-a-04 | Drilling of Bore holes for tube well in all types of soil and soft rock except hard rock from ground level upto 328 ft depth (0m to 100m), including sinking, collection of 100 % corings and withdrawing of pipe, complete as per specifications.: Dia of Bore 6" (150 mm) i/d (Test bore hole) | Rft | 150 |  | 0
54 | 24-03-a-04 | Drilling of Bore holes for tube well in hard rock having unconfirmed compressive strength of 50 MPa and above from ground level upto 328 ft depth (0m to 100m), including sinking, collection of 100 % corings and withdrawing of pipe, complete as per specifications.: Dia of Bore 6" (150mm) i/d (Test bore hole) | Rft | 100 |  | 0
55 | 24-04 | Providing strong box of deodar wood 4' x 2½' x 9" with compartments, lock and locking arrangement,and preserving in it the corings / samples of strata collected from bore hole and supply to the approved soil testing laboratory for testing. | Job | 1 |  | 0
56 | 24-05 | Collection and submission at approved water testing laboratory of two water samples in bottles from each bore hole for testing. | Per set | 4 |  | 0
57 | 24-85 | Electrical log (self potential resistivty both short and normal) of test bore holes. | Each | 1 |  | 0
58 | 24-80 | Yield test by using air compressor in test bore. (pressure pump) | Job | 1 |  | 0
59 | 24-13-b | Testing and developing of tubewell with DNT unit 8" i/d and above complete as per specifications | Hour | 72 |  | 0
60 | 24-14 | Shrouding with graded pack gravel 3/8" to 1/8" around tubewell in bore hole complete as per specification:- | Rft | 250 |  | 0
61 | 24-36-b | Supplying and Fixing MS cap of 3/8" thick sheet : 8" i/d | Each | 1 |  | 0
62 | 14-143 | Providing and fixing 2" dia PVC gravel feed pipe including Sanitary seal to min. 20ft depth from top level of tube well, complete in all respects. | Job | 1 |  | 0
63 | 24-12-c-06 | Providing and installing PVC blind pipe BSS Class "E" in Tube Well Bore Hole including Sockets and Solvents and jointing with strainer etc. complete : 8" Nominal Pipe Size (NPS) (200 mm) | Rft | 180 |  | 0
64 | 24-12-d-02 | Providing and installing PVC Strainer BSS Class "E" of approved make / quality in Tube Well Bore Hole including Sockets and solvents and jointing with strainers etc. complete : 8" Nominal Pipe Size (NPS) (200 mm) | Rft | 70 |  | 0
65 | 24-10-d-02 | Providing and installing PVC bail plug in tubewell BSS Class 'D' working pressure :8" (200 mm) Nominal pipe size (NPS) | Each | 1 |  | 0
66 | 24-92-c | Supply & Installation, testing and commissioning of Solar Submersible Pump (ISO - 9906 Certified) coupled with Submersible rewind-able Electric Motor with AC winding and all accessories like Solar Pump Controller, du/dt filter Complete in all accessories including cooling jackets, NRV, Pressure Gauge, Sluice valves (02 Nos) except column pipe and power cable for discharge less than or equal to 3000 iGPH and output capacity greater than 3 WHP and up to 6 WHP (As per Approved Technical Specifications) Note: Selection of pump is tentative. Actual selection shall be done based on the data collected from test bore hole. | WHP | 4 |  | 0
67 | 24-58-a | Supply and installation of Column pipe for Bowl Assembly of ASTM53 standard material with stainless steel nut bolts/double galvanized and flanges thickness 20mm, with outside surface epoxy coated, 2.5" size | Rft | 200 |  | 0
Cost of Scheduled Items (Rs.) | [5 empty] | 0
Add 3% above on Scheduled Item for District Kohat (Rs.) | [5 empty] | 0
Total Cost of Scheduled Items (Rs.) | [5 empty] | 0
NON-SCHEDULED ITEMS
GENERAL NOTE
Supply, installation, testing and commissioning of the following items of work, including all labour, tools, plant, accessories, etc. required for completion of each item as per specifications and as approved by the Engineer.
F |  | SCHOOL BUILDING
STORM DRAINAGE PIPES & FITTINGS
(Ref. Specs-5100)
68 | NS-01 | Cast Iron roof drain with SS or Brass removeable type screwed of approved make of following diameters, including strainer, flushing material, and all accessories for complete installation, as per specifications.
| (a) | 4 inches | Each | 3 |  | 0
| (b) | 3 inches | Each | 1 |  | 0
G |  | TOILET BLOCK
SANITARY FIXTURES AND FITTINGS
(Ref. Specs-5100)
69 | NS-02 | Small hook of any size and shape,of approved make, with plugs and screws, fixed to concrete, brick, stone or wood work, complete in all respects. | Each | 3 |  | 0
STORM DRAINAGE PIPES & FITTINGS
(Ref. Specs-5100)
70 | NS-03 | Cast Iron roof drain with SS or Brass removeable type screwed of approved make of following diameters, including strainer, flushing material, and all accessories for complete installation, as per specifications.
| (a) | 4 inches | Each | 1 |  | 0
H |  | EXTERNAL PLUMBING WORKS
SANITARY SEWAGE NETWORK
(Ref. Specs-5100)
71 | NS-04 | uPVC non-pressure pipes for sanitary sewerage conforming to BS-5481/BS-4660/EN1401 (SN8) with rubber ring fittings and specials compatible with pipe material as per manufacturer's recommendations, complete in all respects, flushing cleaning and disinfecting as per specifications and as directed by the Engineer of following diameters:
| (a) | 160mm | Rft | 10 |  | 0
| (b) | 200 mm | Rft | 100 |  | 0
SEPTIC TANK AND SOAKAGE PIT
(Ref. Specs-5100)
72 | NS-05 | Dia 2" u-turned G.I. vent pipes, pudddle plate, with insect proof mesh at open end etc., complete in all respects. | Job | 2 |  | 0
I |  | TUBE WELL
(Ref. Specs-5600)
73 | NS-06 | Reaming of 6" dia. Test Hole to 15" dia. | Rft | 250 |  | 0
Cost of Non-Scheduled Items (Rs.) | [5 empty] | 0
Grand Total Cost of Scheduled Items & Non-Scheduled Items (Rs.) | [5 empty] | 0