## BOQs
ANNEX B- BILL OF QUANTITIES 2024/SCU/SOP/RFQ012
ITEMS AND WORKS REQUIRED AT PCM AND VRC
S.No. | ACTIVITIES DESCRIPTION | Qty | Unit
1 | Supply and Installation of Fiber Shed. Frame made of 18 gauge 1.5"x1.5" steel pipes and 02 ply fiber sheets on top with rivets/screws etc. Each site with 10 feet width/30 feet length and 8 feet height covered from 3 sides and a roof. The roof with single ply and side walls with double ply sheets Site 1: PCM Chamkani | 1100 | Sft
2 | Supply and Installation of Fiber Shed. Frame made of 18 gauge 1.5"x1.5" steel pipes and 02 ply fiber sheets on top with rivets/screws etc. 2 sites: PCM Chamkani & PCM Haripur Each site with 10 feet width/30 feet length and 8 feet height covered from 3 sides and a roof. The roof with single ply and side walls with double ply sheets Site 2: PCM Haripur | 1100 | Sft
3 | Repair/rehabilitation of existing Solar system including the inverter and maintenance check of PV panels, charge controller, battery system, wiring and accessories. (8x850W PV panels, 2 KW Inverter, Li-ion Battery). Only Site 1: PCM Chamkani | 1 | Job