## Summary
ANNEX C_BOQ / FINANCIAL OFFER FORM
CONSTRUCTION AND SOLARIZATION OF GGPS NO.1 SENI GUMBAT, DISTRICT KOHAT - RFP REF: 2024/SOP/SCU/RFP/003
FINANCIAL OFFER SUMMARY
S.No | DESCRIPTION | TOTAL AMOUNT (Rs.)
1 | Civil Works
2 | Electrical & Solarization Works
3 | Plumbing Works
Total Cost (Rs.)

## GGPS Seni Gumbat , Kohat-Civil
UNHCR PAKISTAN
CONSTRUCTION AND SOLARIZATION OF GGPS NO.1 SENI GUMBAT, DISTRICT KOHAT - RFP REF: 2024/SOP/SCU/RFP/003
FINANCIAL OFFER - CIVIL WORKS
ITEM NO. | KPK MRS 2022 REF. NO. / NS (2nd BI ANNUAL) | DESCRIPTION | UNIT of MEASURE |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | BUILDING WORKS
CIVIL WORKS - (4+4) CLASS ROOMS, OFFICE, KITCHEN, STAFF & STORE ROOMS
EARTHWORK (EXCAVATION AND EMBANKMENT)
1 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 6160
2 | 03-18-d | Filling, watering and ramming earth under floor with earth excavated from outside lead upto 30m | 1000 | Cft | 2000
3 | 03-19-a | Extra for every 15 m extra lead or part thereof for earthwork soft, ordinary, hard & very hard (for 16 No. of trip) (apply 169.32 x No. of Trip) | 1000 | Cft | 900
4 | 03-20-a | Transportation of earth all types beyond 250 m and upto 500 m. | 1000 | Cft | 1100
5 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 9170
6 | 03-67-d | Structural Backfill using Granular Material brought from outside | 1000 | Cft | 4110
CONCRETE
7 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 1060
8 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 90
9 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 1605
10 | 06-07-a-02 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) | 100 | Cft. | 3170
11 | 06-07-a-02 +06-07-e | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) in 2nd storey. | 100 | Cft. | 2350
12 | 06-07-a-02 +2x(06-07-e) | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) in 3rd storey. | 100 | Cft. | 625
13 | 06-07-b-02 | RCC in raft foundation slab, base slab of column & ret.wall etc, not including in 06-06 (1:1.5:3) | 100 | Cft. | 1640
14 | 06-07-a-03 +06-07-e | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) at Kitchen cabinet in 2nd storey. | 100 | Cft. | 15
15 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 19540
16 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 11310
17 | 06-23 | Fill expansion joints with bitumen, sand & saw dust in Ratio 1:2:2 | 1 | Rft | 230
18 | 6-46-a | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 6540
19 | 6-46-b | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 12000
BRICK MASONRY
20 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 2145
21 | 07-05-a-04 + 07-06-a | 1st class brick work in first floor in Cement, sand mortar 1:5 | 100 | Cft. | 2170
22 | 07-05-a-04 + 07-06-b | 1st class brick work in 2nd floor in Cement, sand mortar 1:5 | 100 | Cft. | 230
ROOFING
23 | 09-11-a | Earth filling over roof including watering, ramming etc 3" thick earth filling and 1" mud plaster | 100 | Sft. | 2780
24 | 09-16 | Khuras on roof 2'x2'x6" | 1 | Each | 5
FLOORING
25 | 10-12 + 2x10-18 | Brick tiles (9"x4.5"x1.5") laid flat in 1:3 c/s mortar over a bed of 3/4" thick cement mortar 1:6 | 100 | Sft. | 2780
26 | 10-14-b | Cement concrete tiles laid in 1:2 c/s mortar over 3/4" thick bed of c/s mortar 1:2: 12" x 12" x 1" | 100 | Sft. | 690
27 | 10-26-c-iii | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. Ground Floor | 100 | Sft. | 2600
28 | 10-26-c-iii+ 10-18 | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. 1st Floor | 100 | Sft. | 2300
29 | 10-26-c-iii+ 2x10-18 | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. 2nd Floor | 100 | Sft. | 15
30 | 10-26-e | Providing and Laying marble fine dressed stone 4-5 feet and 12" wide 1" thick for stairs steps | 100 | Sft. | 360
31 | 10-37 | Providing and Fixing of Marble Vanity for Wash Hand Basin of Imported approved quality. | 100 | Sft. | 50
32 | 10-44 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints set over 1/2" thick roughcast 1:4 cement sand plaster. Ground Floor | 100 | Sft. | 260
33 | 10-44 + 10-18 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints set over 1/2" thick roughcast 1:4 cement sand plaster.1st Floor | 100 | Sft. | 200
34 | 10-44 + 10-18 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints set over 1/2" thick roughcast 1:4 cement sand plaster.2nd Floor | 100 | Sft. | 5
35 | 10-55-i | Providing and Fixing of Porcelain Floor Tile 12" x 12" of approved quality at Kitchen | 100 | Sft. | 160
36 | 10-55-j | Providing and Fixing of Porcelain Wall Tiles 12"x18" of approved quality at Kitchen | 100 | Sft. | 250
SURFACE RENDERING
37 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 10340
38 | 11-09-b + 11-26 | Cement plaster 1:4 from 20' to 30' height 1/2" thick | 100 | Sft. | 5470
39 | 11-10-c | Cement plaster 3/8" thick under soffit of RCC roof slabs only upto 20' height : (1:4) | 100 | Sft. | 2610
40 | 11-10-c +11-26 | Cement plaster 3/8" thick under soffit of RCC roof slabs only from 20' to 30' height : (1:4) | 100 | Sft. | 2440
41 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft. | 2900
42 | 11-18-b +11-26 | Cement pointing struck joints, on walls, from 20' to 30' height : Ratio 1:3 | 100 | Sft. | 460
43 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft. | 3360
PAINTING AND VARNISHING
44 | 11-20-a | Priming coat of chalk under distemper | 100 | Sft. | 5040
45 | 11-20-b | Providing and applying wall putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete. | 100 | Sft. | 5040
46 | 11-21-a-03 | Distempering New surface : Three coats | 100 | Sft. | 5040
47 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 7100
48 | 13-22-a | Preparing surface and painting with emulsion paint : upto 20' height First coat. | 100 | Sft. | 8830
49 | 13-22-b | Preparing surface and painting with emulsion paint : upto 20' height 2nd & each subsequent coat. (two coats) | 100 | Sft. | 17660
50 | 13-22-a + 13-24 | Preparing surface and painting with emulsion paint, from 20' to 30' height: First coat. | 100 | Sft. | 2340
51 | 13-22-b + 13-24 | Preparing surface and painting with emulsion paint, from 20' to 30' height: 2nd & each subsequent coat. (two coats) | 100 | Sft. | 4680
52 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 1510
53 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 3020
54 | 13-25-a + 13-24 | Preparing surface & painting with snowcem / weather shield paint 20' to 30': First coat | 100 | Sft. | 3130
55 | 13-25-b + 13-24 | Preparing surface & painting with snowcem / weather shield paint 20' to30': 2nd & subsequent coats. | 100 | Sft. | 6260
PLUMBING WORKS
56 | 14-97 | Supply of 150 Micron Polythene sheet of approved quality | 1 | Kg | 40
57 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 135
IRON & WOOD WORK
58 | 12-61 | MS flat 1/2"x1/8" grill in windows of approved design | 1 | Sft | 1060
59 | 12-70-a | Supply and Fixing MS Sheet 16 guage(10'' x 2'') box type chowkats including fixing in position with all charges for Hold fast, Hinges and Painting etc | 1 | Rft | 430
60 | 12-78-a | Kitchen floor cabinet as per approved design/ specification | 1 | Sft | 60
61 | 12-78-b | Kitchen wall cabinet as per approved design/ specification | 1 | Sft | 50
62 | 25-39-b-05 | Providing and Fixing steel windows 18 gauge with openable glazed panels With 22 SWG wire gauze :Glass pane 5mm | 1 | Sft | 1060
63 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 680
64 | 25-47 | Supply and fixing of fancy type stainless steel chromium plate 2" dia pipes stair railing 3/4" dia pipe fixed on specified space on steps in horizontal positions, complete in all respects (Stair + Ramp) | 1 | Rft | 65
MISCELLANEOUS
65 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 8980
66 | 28-18 | Providing and fixing with steel nails and washers, the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 1000
B |  | CIVIL WORKS - 5 No. TOILET
EARTHWORK (EXCAVATION AND EMBANKMENT)
67 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 280
68 | 03-18-d | Filling, watering and ramming earth under floor with earth excavated from outside lead upto 30m | 1000 | Cft | 190
69 | 03-19-a | Extra for every 15 m extra lead or part thereof for earthwork soft, ordinary, hard & very hard (for 16 No. of trip) (apply 169.32 x No. of Trip) | 1000 | Cft | 190
70 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 800
71 | 03-67-d | Structural Backfill using Granular Material brought from outside | 1000 | Cft | 360
CONCRETE
72 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 35
73 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 15
74 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 115
75 | 06-07-a-02 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) | 100 | Cft. | 275
76 | 06-07-b-02 | RCC in raft foundation slab, base slab of column & ret.wall etc, not including in 06-06 (1:1.5:3) | 100 | Cft. | 135
77 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 1130
78 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 520
79 | 06-23 | Fill expansion joints with bitumen, sand & saw dust in Ratio 1:2:2 | 1 | Rft | 20
80 | 6-46-a | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 150
81 | 6-46-b | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 870
BRICK MASONRY
82 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 290
ROOFING
83 | 09-11-a | Earth filling over roof including watering, ramming etc 3" thick earth filling and 1" mud plaster | 100 | Sft. | 130
84 | 09-16 | Khuras on roof 2'x2'x6" | 1 | Each | 1
FLOORING
85 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft. | 30
86 | 10-12+ 10-18 | Brick tiles (9"x4.5"x1.5") laid flat in 1:3 c/s mortar over a bed of 3/4" thick cement mortar 1:6 | 100 | Sft. | 130
87 | 10-14-b | Cement concrete tiles laid in 1:2 c/s mortar over 3/4" thick bed of c/s mortar 1:2: 12" x 12" x 1" | 100 | Sft. | 45
88 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile | 100 | Sft | 410
89 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 115
SURFACE RENDERING
90 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 620
91 | 11-10-c | Cement plaster 3/8" thick under soffit of RCC roof slabs only upto 20' height : (1:4) | 100 | Sft. | 115
92 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft. | 310
93 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft. | 310
PAINTING AND VARNISHING
94 | 11-20-a | Priming coat of chalk under distemper | 100 | Sft. | 115
95 | 11-20-b | Providing and applying wall putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete. | 100 | Sft. | 115
96 | 11-21-a-03 | Distempering New surface : Three coats | 100 | Sft. | 115
97 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 660
98 | 13-22-a | Preparing surface and painting with emulsion paint : upto 20' height First coat. | 100 | Sft. | 310
99 | 13-22-b | Preparing surface and painting with emulsion paint : upto 20' height 2nd & each subsequent coat. (two coats) | 100 | Sft. | 620
100 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 315
101 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 630
102 | 14-97 | Supply of 150 Micron Polythene sheet of approved quality | 1 | Kg | 3
103 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 12
IRON WORK
104 | 12-70-a | Supply and Fixing MS Sheet 16 guage(10'' x 2'') box type chowkats including fixing in position with all charges for Hold fast, Hinges and Painting etc | 1 | Rft | 83
105 | 25-39-a-05 | Providing and fixing steel windows/Ventilator with openable glazed panels, using beam section for frame 1-1/2" x 1" x 5/8" x 1/8", z-section for leaves 3/4" x 1" x 3/4" x 1/8", T- section sashes 1"x1"x1/8", glass panes, wooden screed for glazing embded over a thin layer of putty duly screwed with leaves, brass fittings holdfast, duly painted, complete in all respects, including all cost of material and labour etc. as per approved design and as directed by the engineer - in -charge Glass pane 5mm thick | 1 | Sft | 12
106 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 93
MISCELLANEOUS
107 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 570
108 | 28-18 | Providing and fixing with steel nails and washers, the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 60
C |  | CIVIL WORKS- EXTERNAL SEWERAGE (SEPTIC TANK)
EARTHWORK (EXCAVATION AND EMBANKMENT)
109 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 150
110 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 | Cft | 665
CONCRETE
111 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing and curing ( Ratio 1:4:8) | 100 | Cft | 25
112 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft | 280
113 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 70
114 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 650
115 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 390
116 | 6-46-a | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 80
117 | 6-46-b | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 635
SURFACE RENDERING
118 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 150
119 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 600
D |  | BOUNDARY WALL & GATE
120 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 250
121 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 690
122 | 04-13' | Dismantling brick work in lime or cement mortar | 100 | Cft | 590
123 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 100
124 | 06-07-a-02 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) | 100 | Cft. | 440
125 | 06-07-b-02 | RCC in raft foundation slab, base slab of column & ret.wall etc, not including in 06-06 (1:1.5:3) | 100 | Cft. | 130
126 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 2040
127 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 910
128 | 6-46-a | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 70
129 | 6-46-b | Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 1460
130 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 710
131 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 1900
132 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft. | 950
133 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft. | 950
134 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 1300
135 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 1900
136 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 3800
137 | 25-45-b | Supplying and Fixing 18 SWG MS Sheet Gate with angle iron frame (2"x2"x3/16") with side window, lock, painting etc. | 1 | Sft | 120
138 | 25-60-a | Supply and fixing razor wire (2'-0" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6" long 6' to 8' center to center embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc. Complete in all respects. | 1 | Rft | 210
139 | 28-18 | Providing and fixing with steel nails and washers, the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip) before plastering etc complete. | 1 | Sft | 190
E |  | HAND WASH FACILITY
140 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 20
141 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 90
142 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft | 29
143 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 14
144 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 26
145 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 105
146 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile - 6"x6" white | 100 | Sft | 50
147 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 80
148 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 85
PLUMBING AND SWERAGE WORKS
149 | 14-13 | Providing and fixing chromium plated soap dish complete. | 1 | Each | 5
150 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 5
151 | 14-28-f | Providing and fixing gun metal peet / gate valve (screwed) 20 mm (3/4") dia of approved quality. | 1 | Each | 1
152 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | 1 | Rft | 110
153 | 14-55-f | Providing and Fixing GI pipe & including specials complete: 1/2" dia (light) | 1 | Rft | 17
154 | 14-69-a-02 | Providing and fixing Fibre Glass , corrosion resistant, UV stabilized Water Tank : 400 gallons | 1 | Each | 1
155 | 25-58-b | Providing and fixing of parking shed consisting of CGI Sheet, tubular pipe frame (heavy) quality and circular columns excluding cost of foundation. | 1 | Sft | 75
F |  | DRAIN & WALKWAY WORKS
156 | 03-25-b | Excavation in foundation of building, bridges, drain etc complete : in ordinary soil. | 1000 | Cft | 550
157 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 330
158 | 06-46-b | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) Erection and removal of Form work with Wood Surface Finishing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft | 650
159 | 23-03-a-01 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B,including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring, cutting pipes where necessary, testing, etc. complete:-12" i/d, wall thickness 2". | 1 | Rft | 20
Cost of Scheduled Items (Rs.) | [6 empty] | 0
Add 3% above on Scheduled Item for District Kohat (Rs.) | [6 empty] | 0
Total Cost of Scheduled Items (Rs.) | [6 empty] | 0
G |  | NON-SCHEDULED ITEMS
GENERAL NOTE
Supply, installation, testing and commissioning of the following items of work, including all labour, tools, plant, accessories, etc. required for completion of each item as per specifications and as approved by the Engineer.
SURFACE RENDERING
160 | NS-01 | Provide and install white board (8'x4') of erasable marker use with smooth surface made of suitable material beading having Aluminium frame with light grey plastic corner caps complete in all respects including all accessories. | 1 | No | 8
Cost of Non-Scheduled Items (Rs.) | [6 empty] | 0
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.) | [6 empty] | 0

## Electrical
UNHCR PAKISTAN
CONSTRUCTION AND SOLARIZATION OF GGPS NO.1 SENI GUMBAT, DISTRICT KOHAT - RFP REF: 2024/SOP/SCU/RFP/003
FINANCIAL OFFER - ELECTRICAL WORKS
ITEM NO. | KPK MRS 2022 REF. NO. / NS (2nd BI ANNUAL) | DESCRIPTION | UNIT of MEASURE |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | SCHOOL BUILDING
FANS & EXHAUST FANS
1 | 15-68-c | Supply and Erection best quality AC ceiling fan complete with GI rod, canopy, blades & regulator: 56" sweep. | 1 | Each | 40
2 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans. | 1 | Each | 40
CONDUITS & PIPES
3 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 50
WIRING ACCESSORIES
4 | 15-127-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects | 1 | No. | 4
5 | 15-127-d | Supply at site, installation, testing and commissioning of Four gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | No. | 4
6 | 15-127-c | Supply at site, installation, testing and commissioning of Three gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | No. | 8
7 | 15-127-b | Supply at site, installation, testing and commissioning of 2 gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | No. | 3
8 | 15-127-a | Supply at site, installation, testing and commissioning of 1 gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | No. | 3
9 | 15-156 | Supply, Installation, Connecting, testing and commissioning of 400 watt Fan dimmer, polycarbonate flame retardant with fancy gang plate fixed on die fabricated powdered coated metal board recessed in wall or column , Complete in all respects. (Separate Back box) | 1 | No. | 40
10 | 15-155-e | Supply, installation, connecting, testing & commissioning of flush type 13 Amps 3-pin simplex outlet with 3 pin switch and socket combine unit with neon bulb fixed on plastic or fiber top covered, including 14 SWG metal board with earth | 1 | No. | 30
WIRING IN CONCEALED CONDUITS,EARTHING
11 | 15-06-a | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 3/0.029"(1.5mm2). | 1 | Rft | 9750
12 | 15-06-c | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.029"(2.5mm2) . | 1 | Rft | 2500
NOTE: The wiring shall be done as following.
| a | Wiring of light circuit from Distribution Board to switch, including circuit wiring between switches on the same circuit with Two nos. single core 2.5 Sqmm and One no.1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 3/4 " PVC conduits including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
MA
| b | Wiring from switch to light or fan point (1 way / 2 way) with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 1" PVC conduit including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| c | Wiring from light to light with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| d | Wiring of circuit from Distribution Board to 13A , 230 Volts, 3 pin switched socket outlet with Two nos. single core 4 sqmm and One no. 2.5 sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in 3/4" dia concealed PVC conduit laid underfloor including PVC conduit, conduit accessories, etc. complete in all respects.
| e | Wiring from 13 Amps, 3 pin socket to socket with Two nos. single core 2.5 Sqmm and One no. 1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid underfloor including PVC conduit, conduit accessories, etc. Complete in all respects.
13 | 15-02-b-03 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc 1" i/d | 1 | Rft. | 300
14 | 15-02-b-02 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 3/4" i/d | 1 | Rft. | 1500
15 | 15-02-b-06 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 2" i/d | 1 | Rft. | 350
16 | 15-105-h-06 | Providing & fixing of Plate type Earthing compressed with excavated hole 6"up 63 feet,GI pipe 2"(50mm)with Tees , Sockets , Endcap of 60 (RFT) Copper Plate of 1/2"x 2"x 48", 2x 70mmsq S/Core copper bare conductor 125 (Rft) Earth Connection Point of 1200 x 50 x 50mm (L x W x T) Inspection Pit of 300 x 300 x 450 mm (L x W x D) completed with all respect | 1 | Job | 1
LIGHT FIXTURES
17 | 15-36-k-02 | Supply, installation, connecting, testing and commissioning of Surface mounting LED tube light with 1x2000 lumens output and fixture, complete in all respects | 1 | No. | 65
18 | 15-36-j-12 | Supply, installation, connecting, testing & commissioning of 10W LED Down Light Fixture suitable for 1300 lux, as per instruction of Engineer, surface mounted circular shape or equivalent | 1 | No. | 13
19 | 26-01-g-04 | Supply and Erection 1x10sq.mm Copper cable Flexible AS ECC | 1 | Rft. | 400
20 | 15-122-d | 16 sq mm , 4 core PVC/PVC stranded copper conductor cable | 1 | RMtr | 30
21 | 15-122-c | 10 sq mm , 4 core PVC/PVC stranded copper conductor cable | 1 | RMtr | 350
22 | 26-01-g-07 | Supply and Erection 1x35 sq.mm Copper Flexible | 1 | Rft. | 100
23 | 15-124-a | Supply & erection of 2x10 mm2 Copper Cable | 1 | RMtr | 20
B |  | SOLAR SYSTEM (PHOTOVOLTAIC)
24 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) | 1 | Watt | 15260
25 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Watt | 15260
26 | 26-01-i-05 | Supply and Erection of off Grid Hybrid inverter with Dual MPPT charge Controller | 1 | Watt | 15000
27 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 15
28 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 15260
29 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft. | 3000
30 | 26-01-g-04 | Supply and Erection 1x10 sq.mm flexible copper cable | 1 | Rft. | 600
31 | 26-01-n-02 | Supply and Erection of 1x1 ft 4mm Copper Earthing Plate | 1 | Watt | 15260
32 | 6-01-n-03 | Supply and Erection of Stainless Steel Nuts and Bolts | 1 | Watt | 15260
33 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 30
34 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 20
35 | 15-11-b-06 | Supply & Erection of Change over switch 100 Amp | 1 | Each | 1
36 | 15-105-a | Supply & erection of Earth Rod | 1 | Each | 4
37 | 15-105-b | Supply & erection of Earthing wire GSL 6 mm | 1 | kg | 10
C |  | TUBE WELL
EARTHING
38 | 15-105-h-06 | Providing & fixing of Plate type Earthing compressed with excavated hole 6"up 63 feet,GI pipe 2" (50mm)with Tees, Sockets, Endcap of 60 (RFT) Copper Plate of 1/2"x 2"x 48", 2x 70mmsq S/Core copper bare conductor 125 (Rft) Earth Connection Point of 1200 x 50 x 50mm (L x W x T) Inspection Pit of 300 x 300 x 450 mm (L x W x D) completed with all respect. | 1 | Job | 1
LT CABLES
CONDUITS & PIPES
Supply at site, installation, testing and commissioning of PVC insulated un-armoured copper conductor cable 600 / 1000 Volt grade (or otherwise mentioned in cable description ) in prelaid conduits / trenches to be installed as per routes shown on drawings including cost of all necessary materials, connections, identification tags, cables lugs properly crimped at both ends for the following sizes complete in all respects
39 | 15-02-b-06 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 2" i/d | 1 | Rft. | 100
40 | 15-08-F | Supply and Erection twin core PVC insulated & sheathed copper conductor 250/440 V grade cable : 7/0.064" | 1 | RMtr | 30
D |  | TOILET BLOCK
FANS & EXHAUST FANS
41 | 15-69-a | Supply and Erection best quality exhaust fan complete with shutter & regulator : 12"sweep | 1 | Each | 6
WIRING ACCESSORIES
42 | 15-127-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects | 1 | No. | 1
43 | 15-127-b | Supply at site, installation, testing and commissioning of Two gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | No. | 1
WIRING IN CONCEALED CONDUITS
44 | 15-06-a | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 3/0.029"(1.5mm2). | 1 | Rft | 400
45 | 15-06-c | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.029"(2.5mm2) . | 1 | Rft | 80
46 | 15-02-b-03 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc 1" i/d | 1 | Rft. | 20
47 | 15-02-b-02 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 3/4" i/d | 1 | Rft. | 320
LIGHT FIXTURES
48 | 15-36-j-12 | Supply, installation, connecting, testing & commissioning of 10W LED Down Light Fixture suitable for 1300 lux, as per instruction of Engineer, surface mounted circular shape or equivalent | 1 | No. | 7
Cost of Scheduled Items (Rs.)
Add 3% above on Scheduled Item for District Kohat (Rs.)
Total Cost of Scheduled Items (Rs.)
E |  | NON-SCHEDULED ITEMS
(Ref. Specification Section-8001, 8133)
49 | NS-01 | Providing and fixing Lightning Arrestor 1" Copper rod 6ft long with 4'' Bowl five spikes complete in all respect (above top structure level) | 1 | No. | 1
50 | NS-02 | Providing and fixing Earth Connecting Point 8"x1.5"x 6-8mm insulators with complete Accessories. | 1 | No | 1
51 | NS-03 | DB-SCHOOL GF,FF Classrooms | 1 | No | 2
52 | NS-04 | SOLAR CONTROL PANEL | 1 | No | 1
53 | NS-05 | Supply and Erection of DC Busbar DB water proof including RYB N Busbars and 1 No MCCB complete as per Approval. | 1 | Job | 1
54 | NS-06 | Supply and Erection of MCCB 100A Including Fixing arrangement and Back Box complete in all respect | 1 | Job | 1
Cost of Non-Scheduled Items: Rs.
Grand Total Cost of Scheduled & Non-Scheduled Items: Rs.

## Plumbing
UNHCR PAKISTAN
CONSTRUCTION AND SOLARIZATION OF GGPS NO.1 SENI GUMBAT, DISTRICT KOHAT - RFP REF: 2024/SOP/SCU/RFP/003
FINANCIAL OFFER - PLUMBING WORKS
ITEM NO. | KPK MRS 2022 REF. NO. / NS (2nd BI ANNUAL) | DESCRIPTION | UNIT of MEASURE | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | SCHOOL BUILDING
SANITARY FIXTURES AND FITTINGS
1 | 14-06-c +14-29-a | Providing and fixing stainless steel sink with drain board size (120x45 cm) 48"x18" including CP swan-neck single way cock ½"dia, set of brackets, waste pipe etc (Best Quality), | Each | 1
2 | 14-13 | Providing & Fixing CP soap dish complete. | Each | 1
3 | 14-69-b-03 | Supplying and Fixing Polyethylene Water Tank made from food grade FDA Certified raw material, 3 layers UV stabilized, inert with water, anti-fungus and anti-bacterial and have a service life of more than 10 years : 500 gallons (Vertical) | Each | 1
4 | 23-05-a | Constructing gully grating chamber complete with CI gully trap, weighing 81 lbs. frame hinged. | Each | 1
WATER SUPPLY PIPES AND FITTINGS
5 |  | Providing, laying cutting, jointing, testing PPRC pipeline in walls/trenches with pipes (conforming to DIN 8077/8078, PN 20 of approved quality & fittings conforming to DIN 16962, PN25 of the same manufacturer) for cold/hot water supply systems including specials complete in all respect as per specifications:
| 14-35-g | 1/2" i/d (25 mm) | Rft | 10
| 14-35-a | 3/4" i/d (32 mm) | Rft | 10
6 |  | G.I. water pipes (cold and hot water, in ducts & in exposed condition) Conforming to BS-1387 (1985), Medium Grade, I/c all fittings, wrapping glass wool thermal insulation with aluminium vapour barrier, making holes in concrete or masonry and then repairing holes, supports and hangers etc. of approved make of the following diameters, complete in all respects:
| 14-162-a | 1 inch | Rft | 70
| 14-162-b | 1-1/4 inch | Rft | 200
7 | 14-163-a | G.I. water pipes (in buried conditions) conforming to BS-1387, Medium Grade, I/c all fittings, wrapping polythene tape, giving anticorrosion treatment, applying protective painting, making holes in concrete or masonry and then repairing holes, flushing, disinfecting, testing and commissioning etc. of approved make, of the following diameters, complete in all respects. 3/4" (20 mm) Nominal Pipe Size (NPS) | Rft | 20
8 |  | Providing & Fixing gun metal peet/gate valve (screwed) of approved quality of following diameters:
| 14-28-f | 3/4 inch. | Each | 1
| 14-28-g | 1 inch. | Each | 2
| 14-28-a | 1-1/4 inch. | Each | 2
SOIL, WASTE AND VENT PIPES & FITTINGS
9 |  | Supplying and Fixing UPVC soil waste and vent pipe class B of following diameter for sanitary drainage:
| 14-144-a | 6" dia | Rft | 10
| 14-144-b | 4" dia | Rft | 10
| 14-144-c | 3" dia | Rft | 40
10 |  | uPVC Soil, Waste and vent pipes conforming to ISO:3633 type "B" or BS-4514/5255 class "A" ,including imported rubber ring/solvent cement fittings, jointing, cutting, and breaking concrete/masonry and then making it good, applying painting, cleaning and testing etc. complete in all respects.(for sanitary drainage)
| 14-144-d | 2" dia | Rft | 10
11 | 14-164 | uPVC Multi Floor Trap (110x75mm) including strainer; supports; making required number of connections; breaking concrete or masonry work & then making it good; etc. | Each | 1
12 | 14-170 | Cowel on vent pipes of the following diameter. (i) 3" | Each | 1
STORM DRAINAGE PIPES & FITTINGS
13 |  | Supplying and Fixing UPVC soil waste and vent pipe class B of following diameter for storm drainage:
| 14-144-b | 4" dia | Rft | 100
| 14-144-c | 3" dia | Rft | 10
B |  | FIRE FIGHTING
14 | 14-172-a | Supplying and fixing of Dry Chemical Powder Fire Extinguisher 6Kg Capacity complete in all respect. | Each | 1
15 | 14-172-b | Supplying and fixing of Foam Type fire extinguishers capacity 12 liters complete in all respect | Each | 1
C |  | TOILET BLOCK
SANITARY FIXTURES AND FITTINGS
16 | 14-03-a + 14-25-a + 14-78 +14-157 | Providing and fitting glazed earthenware White water closet (WC), squatter type (orisa pattern) combined with foot rest, including low level plastic flushing cistern 3 gallons (13.63 litres) capacity, P-Trap (uPVC), 1/2" CP tee stop-cock, complete in all respects. | Each | 5
17 | 14-01-a +14-02-b +14-10-a +14-25-a | Providing and Fixing glazed Earthen ware White WC European type of approved make/size with plastic double seat and cover , glazed earthenware White low down flushing cistern 3 gallons (13.63 Liters) capacity including bracket set, copper connection etc, 1/2" CP tee stop-cock, complete in all respects. | Each | 1
18 | 14-05-a-01 +14-25a +14-29-a +14-45-a | Providing & Fixing glazed earthen ware White wash hand basin (WHB) with pedestal (Best Quality) complete of size 22"x16" including bracket set, waste coupling, CP swan-neck single way cock ½"dia , 1/2" CP tee stop-cocks(02 Nos.), and CP bottle trough with waste pipe 1.25"(32mm) i/d, etc. complete in all respects. | Each | 2
19 | 14-13 | Providing & Fixing CP soap dish complete. | Each | 2
20 | 14-15 | Providing & Fixing CP toilet paper holder complete. | Each | 1
21 | 14-16-a | Providing and Fixing chromium plated (CP) towel rail complete: 24" long and 3/4" dia | Each | 1
22 | 14-17-a | Providing & Fixing best quality looking glass 5mm thick neatly fitted on masonry wall etc as per instruction of Engineer in-charge complete. Mirror 60x45cm (24"x18") size | Each | 2
23 | 14-18-a | Providing & Fixing best quality 5mm glass shelf (60x13 cm) 24"x5" with chromium plated brackets & railing. | Each | 2
24 | 14-86 | Providing & fixing chromium plated double bib-cock with Muslim Shower of approved quality Complete is all respects | Each | 6
25 | 14-158 | Grab bar (ROCA make) with W.C of special person's toilet including all fittings with complete installation. | Each | 1
26 | 14-160-b + 14-28-f | Electric water coolers of 40 gallons capacity, including inlet and outlet connections, gate valve on inlet, electric connection upto power socket, and all other accessories for complete installation. | Each | 1
27 | 14-161 | Triple water filter (10") including inlet and outlet connections, power supply, and all accessories for complete installation | Each | 1
28 | 23-05-a | Constructing gully grating chamber complete with CI gully trap, weighing 81 lbs. frame hinged. | Each | 2
WATER SUPPLY PIPES AND FITTINGS
29 |  | Providing, laying cutting, jointing, testing PPRC pipeline in walls/trenches with pipes (conforming to DIN 8077/8078, PN 20 of approved quality & fittings conforming to DIN 16962, PN25 of the same manufacturer) for cold/hot water supply systems including specials complete in all respect as per specifications:
| 14-35-g | 1/2" i/d (25 mm) | Rft | 30
| 14-35-a | 3/4" i/d (32 mm) | Rft | 30
30 |  | G.I. water pipes (cold and hot water, in ducts & in exposed condition) Conforming to BS-1387 (1985), Medium Grade, I/c all fittings, wrapping glass wool thermal insulation with aluminium vapour barrier, making holes in concrete or masonry and then repairing holes, supports and hangers etc. of approved make of the following diameters, complete in all respects:
| 14-162-a | 1 inch | Rft | 20
| 14-162-b | 1-1/4 inch | Rft | 10
31 | 14-163-a | G.I. water pipes (in buried conditions) conforming to BS-1387, Medium Grade, I/c all fittings, wrapping polythene tape, giving anticorrosion treatment, applying protective painting, making holes in concrete or masonry and then repairing holes, flushing, disinfecting, testing and commissioning etc. of approved make, of the following diameters, complete in all respects. 3/4" (20 mm) Nominal Pipe Size (NPS) | Rft | 10
32 |  | Providing & Fixing gun metal peet/gate valve (screwed) of approved quality of following diameters:
| 14-28-g | 1 inch. | Each | 1
| 14-28-a | 1-1/4 inch. | Each | 1
SOIL, WASTE AND VENT PIPES & FITTINGS
33 |  | Supplying and Fixing UPVC soil waste and vent pipe class B of following diameter for sanitary drainage:
| 14-144-a | 6" dia | Rft | 10
| 14-144-b | 4" dia | Rft | 100
| 14-144-c | 3" dia | Rft | 70
34 |  | uPVC Soil, Waste and vent pipes conforming to ISO:3633 type "B" or BS-4514/5255 class "A" ,including imported rubber ring/solvent cement fittings, jointing, cutting, and breaking concrete/masonry and then making it good, applying painting, cleaning and testing etc. complete in all respects.(for sanitary drainage)
| 14-144-d | 2" dia | Rft | 30
35 | 14-164 | uPVC Multi Floor Trap (110x75mm) including strainer; supports; making required number of connections; breaking concrete or masonry work & then making it good; etc. | Each | 8
36 |  | uPVC floor Cleanout including 2 No. 45o elbows, transition pipe, SS screwed plug/cover assembly jointed air-tight with pipe, breaking concrete or masonry work & then making it good, etc complete in all respects
| 14-165-a | (i) 3" dia | Each | 1
| 14-165-b | (ii) 4" dia | Each | 2
37 | 14-170 | Cowel on vent pipes of the following diameter. (i) 3" | Each | 1
STORM DRAINAGE PIPES & FITTINGS
38 |  | Supplying and Fixing UPVC soil waste and vent pipe class B of following diameter for storm drainage:
| 14-144-b | 4" dia | Rft | 10
D |  | EXTERNAL PLUMBING WORKS
WATER SUPPLY NETWORK
39 | 03-51 | Excavation of trench in all kinds of soils except cutting in rock for pipelines upto 1.5m depth | 1000 Cft | 1300
40 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 600
41 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing and curing ( Ratio 1:2:4) (Thrust block & concrete encasement) | 100 Cft | 20
42 | 7-30 | Supplying and filling sand under floor or plugging in wells | 100 Cft | 600
43 | 14-154 | Supply and Installation of G.I. water pipes conforming to BS-1387 (1985), Medium Grade, I/c all fittings, wrapping polythene tape, giving anticorrosion treatment, applying protective painting, making holes in concrete or masonry and then repairing holes, flushing, disinfecting, testing and commissioning etc. of the following diameters. 2" dia | Rft | 30
44 |  | G.I. water pipes (in buried conditions) conforming to BS-1387, Medium Grade, I/c all fittings, wrapping polythene tape, giving anticorrosion treatment, applying protective painting, making holes in concrete or masonry and then repairing holes, flushing, disinfecting, testing and commissioning etc. of approved make, of the following diameters, complete in all respects.
| 14-163-b | 1" ( 25 mm) Nominal Pipe Size (NPS) | Rft | 10
| 14-163-c | 1¼" ( 32 mm) Nominal Pipe Size (NPS) | Rft | 20
| 14-163-d | 1½" (40 mm) Nominal Pipe Size (NPS) | Rft | 100
SANITARY SEWAGE NETWORK
45 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 Cft | 900
46 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 600
47 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing and curing ( Ratio 1:2:4) | 100 Cft | 10
48 | 7-30 | Supplying and filling sand under floor or plugging in wells | 100 Cft | 300
BRICK MASONRY MANHOLES
49 | 06-07-d-05 | Providing manhole size 24" x 18" (inside dimensions) as per approved design and specifications complete for 4" to 12" dia pipes upto 4 ft. (1.2 m) depth with 16" dia.Concrete Cover fixed in 4" thick RCC 1:2:4 slab (with 5 lbs per Cu.ft. or 80 kg/Cu.m of steel), burnt brick masonry walls 9" (225 mm) thick set in 1:3 cement sand mortar, 6" thick 1:3:6 cement concrete in foundation, 4" av. thickness 1:2:4 cement concrete in benching and 1/2" (13mm) thick cement sand plaster in 1:3 to all inside wall surfaces, channels and benching including making requisite number of main and branch channels but excluding the cost of excavation, back filling and disposal of excavated stuff. | Each | 3
50 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 Cft | 600
51 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 360
52 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing and curing ( Ratio 1:2:4) | 100 Cft | 20
53 | 06-05-h | Plain Cement Concrete incl. placing, compacting, finishing & curing (Ratio 1:3:6) | 100 Cft | 40
54 | 06-05-i | Plain Cement Concrete incl. placing, compacting, finishing & curing (Ratio 1:4:8) | 100 Cft | 70
55 | 07-04-a-03 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:4 | 100 Cft | 100
56 | 11-08-b | Cement plaster 1:3 upto 20' height 1/2" thick | 100 Sft | 300
57 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 Sft | 150
58 | 14-155 | Galvanised MS ladder rings 3/4" dia inside and outside water tanks; Each rung of 12" width, 6" projected outside the wall and 6" embeded in RCC on both ends; including all necessary works for complete installation | kg | 10
59 | 23-08-b | RCC manhole cover 22" dia with: 3"x3"x1/4" angle iron frame, 22" i/d complete | Set | 2
SEPTIC TANK AND SOAKAGE PIT
60 | 14-155 | Galvanised MS ladder rings 3/4" dia inside and outside water tanks; Each rung of 12" width, 6" projected outside the wall and 6" embeded in RCC on both ends; including all necessary works for complete installation | kg | 32
61 | 24-33-d | Supplying and fixing, cast iron manhole cover with frame, etc. (Heavy Type) of approved quality complete. 24" (600 mm) dia. | Each | 2
STORM DRAINAGE NETWORK
62 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 Cft | 800
63 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 500
64 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing and curing ( Ratio 1:2:4) | 100 Cft | 10
65 | 7-30 | Supplying and filling sand under floor or plugging in wells | 100 Cft | 300
STORM DRAINAGE CHAMBERS
66 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 Cft | 70
67 | 03-67-c | Structural backfill using Common Material available at site. | 1000 Cft | 20
68 | 06-05-f | Plain Cement Concrete incl. placing, compacting, finishing & curing (Ratio 1:2:4) | 100 Cft | 20
69 | 06-05-i | Plain Cement Concrete incl. placing, compacting, finishing & curing (Ratio 1:4:8) | 100 Cft | 10
70 | 07-04-a-03 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:4 | 100 Cft | 20
71 | 11-08-b | Cement plaster 1:3 upto 20' height 1/2" thick | 100 Sft | 90
72 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 Sft | 50
E |  | TUBE WELL
73 | 24-01-a | Mobilization of plant, equipment and camping arrangements etc & demobilization after completion | Job | 1
74 | 24-41 | Conducting Elec: Resistivity survey of the area and furnishing its REPORT. | No | 1
75 | 24-02-a-04 | Drilling of Bore holes for tube well in all types of soil and soft rock except hard rock from ground level upto 328 ft depth (0m to 100m), including sinking, collection of 100 % corings and withdrawing of pipe, complete as per specifications.: Dia of Bore 6" (150 mm) i/d (Test bore hole) | Rft | 150
76 | 24-03-a-04 | Drilling of Bore holes for tube well in hard rock having unconfirmed compressive strength of 50 MPa and above from ground level upto 328 ft depth (0m to 100m), including sinking, collection of 100 % corings and withdrawing of pipe, complete as per specifications.: Dia of Bore 6'' (150mm) i/d (Test bore hole) | Rft | 100
77 | 24-04 | Providing strong box of deodar wood 4' x 2½' x 9" with compartments, lock and locking arrangement, and preserving in it the corings / samples of strata collected from bore hole and supply to the approved soil testing laboratory for testing. | Job | 1
78 | 24-05 | Collection and submission at approved water testing laboratory of two water samples in bottles from each bore hole for testing. | Per set | 4
79 | 24-85 | Electrical log (self potential resistivity both short and normal) of test bore holes. | Each | 1
80 | 24-80 | Yield test by using air compressor in test bore. (pressure pump) | Job | 1
81 | 24-13-b | Testing and developing of tube well with DNT unit 8" i/d and above complete as per specifications | Hour | 72
82 | 24-14 | Shrouding with graded pack gravel 3/8" to 1/8" around tube well in bore hole complete as per specification:- | Rft | 250
83 | 24-36-b | Supplying and Fixing MS cap of 3/8" thick sheet : 8" i/d | Each | 1
84 | 14-143 | Providing and fixing 2" dia PVC gravel feed pipe including Sanitary seal to min. 20ft depth from top level of tube well, complete in all respects. | Job | 1
85 | 24-12-c-06 | Providing and installing PVC blind pipe BSS Class "E" in Tube Well Bore Hole including Sockets and Solvents and jointing with strainer etc. complete : 8" Nominal Pipe Size (NPS) (200 mm) | Rft | 180
86 | 24-12-d-02 | Providing and installing PVC Strainer BSS Class "E" of approved make / quality in Tube Well Bore Hole including Sockets and solvents and jointing with strainers etc. complete: 8" Nominal Pipe Size (NPS) (200 mm) | Rft | 70
87 | 24-10-d-02 | Providing and installing PVC bail plug in tube well BSS Class 'D' working pressure :8" (200 mm) Nominal Pipe Size (NPS) | Each | 1
88 | 24-92-c | Supply & Installation, testing and commissioning of Solar Submersible Pump (ISO - 9906 Certified) coupled with Submersible rewind-able Electric Motor with AC winding and all accessories like Solar Pump Controller, du/dt filter Complete in all accessories including cooling jackets, NRV, Pressure Gauge, Sluice valves (02 Nos) except column pipe and power cable for discharge less than or equal to 3000 iGPH and output capacity greater than 3 WHP and up to 6 WHP (As per Approved Technical Specifications) Note: Selection of pump is tentative. Actual selection shall be done according to data collected from test bore hole. | WHP | 4
89 | 24-58-a | Supply and installation of Column pipe for Bowl Assembly of ASTM53 standard material with stainless steel nut bolts/double galvanized and flanges thickness 20mm, with outside surface epoxy coated, 2.5" size | Rft | 200
Cost of Scheduled Items (Rs.)
Add 3% above on Scheduled Item for District Kohat (Rs.)
Total Cost of Scheduled Items (Rs.)
NON-SCHEDULED ITEMS
GENERAL NOTE
Supply, installation, testing and commissioning of the following items of work, including all labour, tools, plant, accessories, etc. required for completion of each item as per specifications and as approved by the Engineer.
F |  | SCHOOL BUILDING
STORM DRAINAGE PIPES & FITTINGS
(Ref. Specs-5100)
90 | NS-01 | Cast Iron roof drain with SS or Brass removeable type screwed of approved make of following diameters, including strainer, flushing material, and all accessories for complete installation, as per specifications.
| (a) | 4 inches | Each | 4
| (b) | 3 inches | Each | 1
G |  | TOILET BLOCK
SANITARY FIXTURES AND FITTINGS
(Ref. Specs-5100)
91 | NS-02 | Small hook of any size and shape, of approved make, with plugs and screws, fixed to concrete, brick, stone or wood work, complete in all respects. | Each | 6
STORM DRAINAGE PIPES & FITTINGS
(Ref. Specs-5100)
92 | NS-03 | Cast Iron roof drain with SS or Brass removeable type screwed of approved make of following diameters, including strainer, flushing material, and all accessories for complete installation, as per specifications.
| (a) | 4 inches | Each | 1
H |  | EXTERNAL PLUMBING WORKS
SANITARY SEWAGE NETWORK
(Ref. Specs-5100)
93 | NS-04 | uPVC non-pressure pipes for sanitary sewerage conforming to BS-5481/BS-4660/EN1401 (SN8) with rubber ring fittings and specials compatible with pipe material as per manufacturer's recommendations, complete in all respects, flushing cleaning and disinfecting as per specifications and as directed by the Engineer of following diameters:
| (a) | 160mm | Rft | 10
| (b) | 200 mm | Rft | 50
SEPTIC TANK
(Ref. Specs-5100)
94 | NS-05 | Dia 2" u-turned G.I. vent pipes, puddle plate, with insect proof mesh at open end etc., complete in all respects. | Job | 2
STORM DRAINAGE NETWORK
(Ref. Specs-5100)
95 | NS-06 | uPVC non-pressure pipes for sanitary sewerage conforming to BS-5481/BS-4660/EN1401 (SN8) with rubber ring fittings and specials compatible with pipe material as per manufacturer's recommendations, complete in all respects, flushing cleaning and disinfecting as per specifications and as directed by the Engineer of following diameters:
| (a) | 160mm | Rft | 100
STORM DRAINAGE CHAMBERS
(Ref. Specs-5100)
96 | NS-07 | Bitumen coated cast Iron Grating cover with frame conforming to BS-497, on sump pit in pump room, including all fittings for complete installation.
| (a) | 12" x 12"(20kg) | Each | 7
I |  | TUBE WELL
(Ref. Specs-5600)
97 | NS-08 | Reaming of 6" dia. Test Hole to 15" dia. | Rft | 250
Cost of Non-Scheduled Items (Rs.)
Grand Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)