## Annex C
ANNEX C - FINANCIAL OFFER FORM
HCR/RWAKI/SUP/2023/RFP0005
Establishment of Frame Agreement for the Provision of Water Management Services in Mahama Camp
NAME OF THE COMPANY:
CURRENCY OF OFFER: |  | RWANDAN FRANCE
Item Description | Unit of Measurement | Estimated Annual Quanty | Unit Price (RWF) Without VAT | Total Price (RWF) Without VAT
A. FAST MOVING PARTS
Soft starters - ALLEN BRADLEY 150-C85NBD | Each | 2 |  | 0
Relay switches - Allen Bradley 700-HN223 | Each | 2 |  | 0
Relay switches - Parker coil for electro-valves 24 Vdc | Each | 2 |  | 0
GI outlet tap ball valve of 3/4", good quality meeting to EN 12266/ ISO228 | Each | 200 |  | 0
GI elbow tap 3/4" mounted on elbow (self-closing or water-saving tap/nrobinet turbo), good quality for public water collection points | Each | 60 |  | 0
White Teflon PTFE Tape for pipe thread seal plumbing, pack of 10 pieces | Each | 300 |  | 0
Aluminium Sulphate | KG | 34675 |  | 0
Caustic Soda | KG | 5840 |  | 0
Sodium Hypochlorite | KG | 31025 |  | 0
Cationic Polyelectrolyte, floculant | KG | 365 |  | 0
Calcium hypochlorite | KG | 360 |  | 0
Lubricants: Grease and thickeners, penetrating lubricants, etc. | KG | 15 |  | 0
Diesel engine oil, superior quality heavy-duty. SAE40 or equivalent in quality and viscosity | Litre | 180 |  | 0
Air filter for generator 200kVA, Perkins genset | Each | 12 |  | 0
Oil filter for generator 200kVA, Perkins genset | Each | 12 |  | 0
Fuel filter for generator 200kVA, Perkins genset | Each | 12 |  | 0
Engine coolant fluid | Litre | 20 |  | 0
TOTAL A |  |  |  | 0
B. SLOW MOVING PARTS |  |  |  | 0
Rubber liner for T95 water tank and accessories - OXFAM Type tank | Each | 1 |  | 0
Rubber liner for T70 water tank and accessories - OXFAM Type tank | Each | 1 |  | 0
Replaceable spareparts of Moto pump Lombardini like filters, etc (Type=9LD625/2, SN=4524600460, RPM=3000/min) | Each | 1 |  | 0
B1. Water flow meters |  |  |  | 0
Electronic flow meters (Inductive Flow 38H, DN150 PN16), COMAC CAL, meets to standard ISO 4061: 2014 | Each | 1 |  | 0
Electronic flow meters (Inductive Flow 38H, DN200 PN16), COMAC CAL, meets to standard ISO 4061: 2014 | Each | 1 |  | 0
DI flanged water meters DN 200 PN16, with joint in rubber, bolts and nuts. All conform to EN 1092 and meet to standard ISO 4061: 2014 | Each | 1 |  | 0
DI flanged water meters DN150 PN16 with joint in rubber, bolts and nuts. All conform to EN 1092 and meet to standard ISO 4061: 2014 | Each | 1 |  | 0
DI flanged water meters DN100 PN16 with joint in rubber, bolts and nuts. All conform to EN 1092 and meet to standard ISO 4061: 2014 | Each | 1 |  | 0
DI flanged water meters DN 80 PN16 with joint in rubber, bolts and nuts. All conform to EN 1092 and meet to standard ISO 4061: 2014 | Each | 1 |  | 0
DI flanged water meters DN63 PN16 with joint in rubber, bolts and nuts. All conform to EN 1092 and meet to standard ISO 4061: 2014 | Each | 1 |  | 0
DI flanged water meters DN50 PN16 with joint in rubber, bolts and nuts. All conform to EN 1092 and meet to standard ISO 4061: 2014 | Each | 1 |  | 0
Galvanized Iron (GI) water meters of DN 1" PN16 as per ISO 4064 and EN 10242 standards | Each | 1 |  | 0
Galvanized Iron (GI) water meters of DN 1 ½” PN16 as per ISO 4064 and EN 10242 standards | Each | 1 |  | 0
Galvanized Iron (GI) water meters of DN 2" PN16 as per ISO 4064 and EN 10242 standards | Each | 1 |  | 0
Galvanized Iron (GI) water meters of DN 3" PN16 as per ISO 4064 and EN 10242 standards | Each | 1 |  | 0
Galvanized Iron (GI) water meters of DN 4" PN16 as per ISO 4064 and EN 10242 standards | Each | 1 |  | 0
Ductile iron (DI) Flanged isolation/control valves for water pipeline (EN1074, ISO2531 and ISO8179) |  |  |  | 0
DI flanged valves DN200 PN16 with rubber joint, bolts and nuts as per EN1074 certification or ISO2531 and ISO8179. | Each | 1 |  | 0
DI flanged valves DN150 PN16 with rubber joint, bolts and nuts as per EN1074 certification or ISO2531 and ISO8179. | Each | 1 |  | 0
DI flanged valves DN 100 PN16 with rubber joint, bolts and nuts as per EN1074 certification or ISO2531 and ISO8179. | Each | 1 |  | 0
DI flanged valves DN80 PN16 with rubber joint, bolts and nuts as per EN1074 certification or ISO2531 and ISO8179 | Each | 1 |  | 0
Ductile iron (DI) flanged check valves (non-return) (EN1074, ISO2531 and ISO8179) |  |  |  | 0
DI flanged check valves DN200 PN16 with rubber joint, bolts and nuts as per EN1074-3 certification or ISO2531 and ISO8179 | Each | 1 |  | 0
DI flanged check valves DN150 PN16 with rubber joint, bolts and nuts as per EN1074-3 certification or ISO2531 and ISO8179 | Each | 1 |  | 0
DI flanged check valves DN 100 PN16 with rubber joint, bolts and nuts as per EN1074-3 certification or ISO2531 and ISO8179. | Each | 1 |  | 0
DI flanged check valves DN80 PN16 with rubber joint, bolts and nuts as per EN1074-3 certification or ISO2531 and ISO8179. | Each | 1 |  | 0
B2. Ductile iron (DI) flanged air release valves (EN1074, ISO2531 and ISO8179) |  |  |  | 0
DI flanged air release valve DN200 PN16 with rubber joint, bolts and nuts as per EN1074-4 certification or ISO2531 and ISO8179. Standard to release of air under pressure | Each | 1 |  | 0
DI flanged air release valve DN150 PN16 with rubber joint, bolts and nuts as per EN1074-4 certification or ISO2531 and ISO8179. Standard to release of air under pressure | Each | 1 |  | 0
DI flanged air release valve DN100 PN16 with rubber joint, bolts and nuts as per EN1074-4 certification or ISO2531 and ISO8179. Standard to release of air under pressure | Each | 1 |  | 0
DI flanged air release valve DN80 PN16, with rubber joint, bolts and nuts as per EN1074-4 certification or ISO2531 and ISO8179. Standard to release of air under pressure | Each | 1 |  | 0
Galvanized Iron (GI) ball valve (EN1074, ISO2531 and ISO8179) |  |  |  | 0
GI valve F/F, Solid Chrome Plated Brass Ball with DN 3" PN 16 (Certification ISO 9001:2008/ ISO 14001:2004) | Each | 1 |  | 0
GI valve F/F, Solid Chrome Plated Brass Ball with DN 2 ½” PN 16 (Certification ISO 9001:2008/ ISO 14001:2004) and EN 10242 | Each | 1 |  | 0
GI valve F/F, Solid Chrome Plated Brass Ball with DN 2" PN 16 (Certification ISO 9001:2008/ ISO 14001:2004) and EN 10242 | Each | 1 |  | 0
GI valve F/F, Solid Chrome Plated Brass Ball with DN 1" PN 16 (Certification ISO 9001:2008/ ISO 14001:2004) and EN 10242 | Each | 1 |  | 0
GI valve F/F, Solid Chrome Plated Brass Ball with DN 1 ½” PN 16 (Certification ISO 9001:2008/ ISO 14001:2004) and EN 10242 | Each | 1 |  | 0
GI valve F/F, Solid Chrome Plated Brass Ball with DN 3/4" PN 16 (Certification ISO 9001:2008/ ISO 14001:2004) and EN 10242 | Each | 1 |  | 0
B3. Galvanized iron (GI) pipe and fittings ( ISO 9001:2008, ISO49 and EN 10242) |  |  |  | 0
GI Water pipe DN 3/4" PN16 as per ISO49 and EN 10242, 6 meters long | Each | 1 |  | 0
GI Water pipe DN 1" PN16 as per ISO49 and EN 10242, 6 meters long | Each | 1 |  | 0
GI Water pipe DN 1 ½" PN16 as per ISO49 and EN 10242, 6 meters long | Each | 1 |  | 0
GI Water pipe DN 2" PN16 as per ISO49 and EN 10242, 6 meters long | Each | 1 |  | 0
GI Water pipe DN 2 ½" PN16 as per ISO49 and EN 10242, 6 meters long | Each | 1 |  | 0
GI Water pipe DN 3" PN16 as per ISO49 and EN 10242, 6 meters long | Each | 1 |  | 0
GI Water pipe DN 4" PN16 as per ISO49 and EN 10242, 6 meters long | Each | 1 |  | 0
GI threaded equal Tee joint DN 3/4" PN16 conform to ISO 9001:2008, ISO49 and EN 10242 | Each | 1 |  | 0
GI threaded equal Tee joint DN 1" PN16 conform to ISO 9001:2008, ISO49 and EN 10242 | Each | 1 |  | 0
GI threaded equal Tee joint DN 1 ½” PN16 conform to ISO 9001:2008, ISO49 and EN 10242 | Each | 1 |  | 0
GI threaded elbow DN 3/4" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded elbow DN 1" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded elbow DN 1 ½” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded elbow DN 2” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded Union DN 3/4" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded Union DN 1" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded union DN 1 ½” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded union DN 2” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded union DN 2 ½” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded union DN 3” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded socket DN 3/4" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded socket DN 1" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded socket DN 1 ½” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded socket DN 2” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded socket DN 2 ½” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded socket DN 3” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded socket DN 3/4" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded nipple DN 1" PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded nipple DN 1 ½” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded nipple DN 2” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded nipple DN 2 ½” PN16 conform to ISO 9001:2008 and EN 10242 | Each | 1 |  | 0
GI threaded nipple DN 3” PN16 conform to ISO 9001:2008, ISO49 and EN 10242 | Each | 1 |  | 0
GI threaded reducing nipple M-F DN 3”x1" PN16 conform to ISO 9001:2008, ISO49 and EN 10242 | Each | 1 |  | 0
GI threaded reducing nipple M-F DN 2”x1" PN16 conform to ISO 9001:2008, ISO49 and EN 10242 | Each | 1 |  | 0
B4. HDPE pipe and fittings (ISO 4427, ISO17885 and EN 12201 standard) |  |  |  | 0
HDPE water pipes of 32mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, roll of 50 meters long | Each | 1 |  | 0
HDPE water pipes of 40mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, roll of 50 meters long | Each | 1 |  | 0
HDPE water pipes of 50mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, roll of 50 meters long | Each | 1 |  | 0
HDPE water pipes of 63mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, roll of 20 meters long | Each | 1 |  | 0
HDPE water pipes of 75mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, 6 meters long | Each | 1 |  | 0
HDPE water pipes of 90mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, 6 meters long | Each | 1 |  | 0
HDPE water pipes of 110mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, 6 meters long | Each | 1 |  | 0
HDPE water pipes of 160mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, 6 meters long | Each | 1 |  | 0
HDPE water pipes of 200mm PN16 as per ISO 4427, ISO17885 and EN 12201 standard, 6 meters long | Each | 1 |  | 0
HDPE reducing Tee joint of 32x25x32mm PN16, conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing Tee joint of 40x32x40mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing Tee joint of 50x40x50mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing Tee joint of 63x50x63mmPN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing Tee joint of 75x63x75mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing Tee joint of 90x75x90mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing Tee joint of 110x90x110mm PN16, conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 32mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 40mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 50mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 63mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 75mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 90mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 110mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE MALE or FEMALE THREADED ADAPTOR of 32mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE MALE or FEMALE THREADED ADAPTOR of 40mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE MALE or FEMALE THREADED ADAPTOR of 50mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE MALE or FEMALE THREADED ADAPTOR of 63mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE MALE or FEMALE THREADED ADAPTOR of 75mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE MALE or FEMALE THREADED ADAPTOR of 90mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE MALE or FEMALE THREADED ADAPTOR of 110mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Elbow of 32mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Elbow of 40mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Elbow of 50mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Elbow of 63mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Elbow of 75mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Elbow of 90mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Elbow of 110mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Female or male Elbow of 32mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Female or male Elbow of 40mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Female or male Elbow of 50mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Female or male Elbow of 63mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Female or male Elbow of 75mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Female or male Elbow of 90mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Female or male Elbow of 110mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE flanged adaptors 160mmx6" PN16 as per ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE flanged adaptors 200mmx8" PN16 as per ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 160mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE Couplings or joiners of 200mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing coupling of 200x160mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
HDPE reducing coupling of 160x110mm PN16 conform to ISO 4427 or ISO17885 standard/ EN 12201 | Each | 1 |  | 0
TOTAL B |  |  |  | 0
C. WATER MANAGEMENT FEE PER MONTH (This should be a lump sum price per month and covering your company's services, overheads, profit, inflation and other risk factors.) |  |  |  | 0
GRAND TOTAL WITHOUT VAT |  |  |  | 0
NOTE:
This offer is valid only if a technical offer is submitted
Offer is valid for 120 days
Company Name: | Date: |  | Stamp: