## Annex C - Financial Offer Form
[ENTER YOUR COMPANY'S LETTERHEAD] / [ВСТАВТЕ БЛАНК ВАШОЇ КОМПАНІЇ] ANNEX C / ДОДАТОК C FINANCIAL OFFER FORM / ФОРМА ФІНАНСОВОЇ ПРОПОЗИЦІЇ "Dear Sir/Madam: We, the undersigned, offer to provide the Office Maintainance Services witin Ukraine for UNHCR Representation in Ukraine in accordance with your tender, RFQ No. UKRKI/RFQ/2024-010." ---UKR Translation of the above---
Annex C Financial Offer Form - RFQ/2024/010 Kyiv Office Maintanance Services
Tenderers are advised to visit the site and acquaint themselves with the surroundings and take any measurements deem necessary as no claims will be accepted due to lack of knowledge of the site. Tenderers are to ensure that during the course of works the inconvenience to third parties should be very minimal and special care should be taken to existing surroundings. Any disposal of demolished / unwanted material should be dumped in an approved dumping site and any related fees to be borne by the tenderer.
S.N | Specification | Unit | Estimated Quantity | Unit in UAH (excl. VAT) | Total Price in UAH (excl. VAT)
1 | Repairs to PVC doors, with frames of any size and kind, work to include all required materials, PVC sections, glue, screws, hinges, nails, repair to frame and architrave, excluding lock, handle, glass and painting. Unit rate shall be including all associated works | pcs | 2
2 | Repairs to steel doors, with steel frames of any size and kind, work to include all required materials, welding, screws, hinge, repair to frame and architrave, excluding lock, handle, glass and painting. Unit rate shall be including all associated works | pcs | 2
3 | Repair UPVC windows of any kind and size, including readjustment of edges and frames, unfixing and re-fixing of glass panels and frame including replacing, wheels, damaged rails, rubber and laying silicone sealant all round | pcs | 5
4 | Repair double glazed door with Aluminum frame including readjustment of edges and frames and including all required accessories | pcs | 5
5 | Provide and install double glazed partitions with Aluminum frame including all required accessories | m² | 50
6 | Provide and install non-transparent satin film for glass partitions | m² | 60
7 | Supply and install sandwich panel construction 50 mm. thick and standard dimension 3000 x 1180 mm constructed from slightly corrugated pre-painted steel sheets on the both side and, fixed onto a steel frame, with injected polyurethane insulation foam, of average density 38 kg/m³, in between. The panels are joined together tongue and groove. | m² | 30
8 | Supply and install of fabric-wrapped acoustic panels for walls | m² | 30
9 | Provide and install European cylinder lock with minimum 3 keys to doors to match the existing | pcs | 6
10 | Supply and install door handles for prefab, wooden or steel doors, of approved quality to match the existing. | pcs | 10
11 | Apply welding to different sections for doors, windows, hinges, grills, handrails, frames, trusses, beams and columns, all of any size complete with painting by antirust and oil paint two coats each together with complete finish. Price is per spot welding. | pcs | 15
12 | Apply welding to different sections for doors, windows, hinges, grills, handrails, frames, trusses, beams and columns, all of any size complete with painting by antirust and oil paint two coats each together with complete finish. Price is per meter length of linear welding. | m | 5
13 | Provide and install heavy duty brass padlock of any size | pcs | 10
14 | Opening existing wall made of concrete blocks and/or gypsy board for the installation of new single or double door(s) or window with reinforced lintel in concrete or H beam. | m² | 10
15 | Provide and install security metal door. Door is consisted one leaf, 90 cm wide, 210 cm height, and the door is covered with double 2 mm steel plates with internal steel stiffeners every 20 cm , honeycomb cells and polyethylene foam. Manual multi lock and heavy duty hinges should be provided and Emergency push to open bar. Door is to be painted with thermal paint as the final coat. Price is to include removing the old door and all associated costs of installing the new door with good finish for the surrounding. frame of the door should be well anchored to the ground with proper concrete foundation. | pcs | 1
16 | Provide and install heavy duty door closer of approved quality with all accessories needed | pcs | 10
17 | Provide and install exhaust fan of diameter 30 cm, or square 30cm*30 cm, all complete with introducing a suitable opening, electrical installation, switch and making good finish for the surrounding | pcs | 15
18 | Provide and install board tiles of Armstrong ceiling, of approved quality to match the existing, of size 60x60cm to replace damaged parts and to match the existing at corridors and offices, including reinforcing the steel frames where needed. | M2 | 10
19 | Provide and install plasterboard partition, including reinforcing the steel frames where needed and excluding paint. | m | 25
20 | Provide and lay silicone sealant for the edges of the existing aluminum frames. Work includes removing the old silicone and cleaning the surface then laying new silicone | m | 50
21 | Provide & lay filler of approved quality, impregnated fiber board covered by mastic sealant for joints including removing damaged ones and making good finish for surroundings. | m | 50
22 | Supply and apply materials to execute up to 40 mm thick plaster to walls (rough coat and then soft coat) and soffits over one coat spatter dash, breaking and removing cracked or old plaster where needed. | m² | 50
23 | Supply and installation to repair existing carpet flooring | m² | 20
24 | Supply and installation to repair existing PVC flooring | m² | 20
25 | Assemble flat-packed furniture (kitchen - bathroom) procured directly by UNHCR | pcs | 10
26 | Provide & install white plastic rubbing rail of 30cm wide and 3mm thick of approved quality screwed into walls behind staff's chairs complete with chrome screws heads. | m | 10
27 | Supply and install heavy duty metal door hinges of approved quality | pcs | 15
28 | Supply and install motion detection control for the lights, including all wiring and associated accessories | pcs | 20
29 | Apply two coats emulsion paint of approved quality, water or oil based as instructed to match the existing (All works to be executed after scrubbing the existing paint completely, filling holes and cracks by putty or plastering if needed. | m² | 50
30 | Dismantling of drywall plasterboard partition | m² | 5
31 | Installation of electric hatches | pcs | 5
32 | Repair of the electric hatch covers | pcs | 10
33 | Provide and install 5/10 Amp one gang switch of approved quality to match the existing | pcs | 25
34 | Provide and install 5/10 Amp socket outlet of approved quality with earthling similar to existing instead of damaged one. | pcs | 10
35 | Provide & install 3x2.5sqmm electrical cable internally or surface mounted , complete with PVC channels/tubes with PVC bends, connectors, fixings etc. | m | 250
36 | Provide & install 3x4sqmm electrical cable internally or surface mounted , complete with PVC channels/tubes with PVC bends, connectors, fixings etc. | m | 10
37 | Provide & install 3x6sqmm electrical cable internally or surface mounted , complete with PVC channels/tubes with PVC bends, connectors, fixings etc. | m | 10
38 | Provide & install 3x10sqmm electrical cable internally or surface mounted , complete with PVC channels/tubes with PVC bends, connectors, fixings etc. | m | 10
39 | Provide & install 5x12sqmm 3 phase electrical cable internally or surface mounted , complete with PVC channels/tubes with PVC bends, connectors, fixings etc. | m | 10
40 | Provide & install 5x16sqmm 3 phase electrical cable internally or surface mounted , complete with PVC channels/tubes with PVC bends, connectors, fixings etc. | m | 10
41 | Provide & install 5x20sqmm 3 phase electrical cable internally or surface mounted , complete with PVC channels/tubes with PVC bends, connectors, fixings etc. | m | 10
42 | Supply and install 3 phase Sub Distribution Electrical board 60 cm*40 cm, 100 Amps for the main 3 phase circuit breaker, (waterproof and thermal painted) to match the existing, price excludes circuit breakers and cables | pcs | 2
43 | Supply and install single phase Sub Distribution Electrical board up to 60 cm*40 cm, 100 Amps for the main circuit breaker, (waterproof and thermal painted) to match the existing, price excludes circuit breakers and cables | pcs | 2
44 | Provide and install complete LED lighting fixture 60 x 60 cm of approved quality with complete electrical installations. | pcs | 150
45 | Supply, install, test, put in operation and commission double schuko socket 2 pin 10/16 amp of approved quality complete with wiring, electrical connection to sub-main distribution board and accessories needed. | pcs | 15
46 | Provide and install electric circuit breaker, 10-25 Amp single phase | pcs | 15
47 | Provide and install electric circuit breaker, 25-60 Amp single phase | pcs | 5
48 | Provide and install electric circuit breaker, 100 Amp single phase | pcs | 2
49 | Provide and install electric circuit breaker industrial ABB or similar approved 3 phase, 30 to 60 Amp three phase instead of damaged one and making good finish due to unfixing & re-fixing. | pcs | 5
50 | Provide and install electric circuit breaker industrial ABB or similar approved 3 phase,100 Amp three phase instead of damaged one and making good finish due to unfixing & re-fixing. | pcs | 5
51 | Provide and install schuko electric socket 3pin 10/16 Amp with earthling of approved quality including (3x2.5)mm wiring, pvc channels, testing and commissioning and connection to main distribution board. | pcs | 25
52 | Provide and install (1.6 to 2.5) cm diameter PVC conduit pipes or channels for surface mounted electrical wires including PVC bends etc. | pcs | 100
53 | Provide and install juction box to match the existing of approved quality. | pcs | 10
54 | Provide suitably qualified and equipped personnel to call to the premises to investigate malfunctioning system or problems as required by the UNHCR. Price is per visit. | pcs | 50
55 | Provide and install data and communication cabling to support changes in workstation locations and networking requirements | m | 20
56 | Provide and install cabling for the UHF antenna and associated equipment installation on the roof | m | 50
57 | Provide and install additional network ports or wireless access points to ensure reliable connectivity throughout the office | m | 300
58 | Provide and install the Wi-Fi access points | pcs | 20
59 | Install Green boxes (electricity consumption measuring devices) | pcs | 3
60 | Provide and install cabling for the genset connection | m | 100
61 | Install Starlink terminals on the rooftop or building façade | pcs | 5
62 | Provide and install UPS equipment | pcs | 2
63 | Provide and Install access control points | pcs | 20
64 | Provide office access cards (swipe cards) | pcs | 300
65 | Supply RE 410 or R32 Gas re-fill (Italian or equivalent quality) for CH-D050PNK/CH-U050NK | Each | 1
66 | Supply RE 410 or R32 Gas re-fill (Italian or equivalent quality) for Neoclima NS-18EHXIw1 | Each | 1
67 | Supply RE 410 or R32 Gas re-fill (Italian or equivalent quality) for A/C 1U35YEGFRA-H Haier | Each | 1
68 | Supply RE 410 or R32 Gas re-fill (Italian or equivalent quality) for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
69 | Supply RE 410 or R32 Gas re-fill (Italian or equivalent quality) for A/C Haier AB36ES1ERA(S) | Each | 2
70 | Lubriaction of Ventilation unit VENTS VUT 2000 ЕГ (supply and exhaust) | Each | 1
71 | Calibration of Ventilation unit VENTS VUT 2000 ЕГ (supply and exhaust) | Each | 1
72 | Replacement of the worn-out parts Ventilation unit VENTS VUT 2000 ЕГ (supply and exhaust) | Each | 1
73 | Cleaning filters | Each | 6
74 | Replace the main board of Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW. | Each | 2
75 | Replace the main board of Neoclima NS-18EHXIw1 with equivalent quality to match the existing | Each | 1
76 | Replace the main board of Wall-mounted split-system A/C 1U35YEGFRA-H Haier to match the existing | Each | 1
77 | Replace the main board of HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) to match the existing | Each | 1
78 | Replace the main board of the existing split-system A/C Haier AB36ES1ERA(S) with equivalent quality to match the existing | Each | 3
79 | Replace the condenser of Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW. | Each | 2
80 | Replace the Neoclima NS-18EHXIw1 internal unit Condenser | Each | 1
81 | Replace the internal unit's Condenser of Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
82 | Replace the HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) internal unit's Condenser | Each | 1
83 | Replace the A/C Haier AB36ES1ERA(S) internal unit's Condenser | Each | 1
84 | Un-block the A/c drains | Each | 10
85 | Supply and install External unit's fan for Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW. | Each | 2
86 | Supply and install External unit's fan for Neoclima NS-18EHXIw1 | Each | 1
87 | Supply and install External unit's fan for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
88 | Supply and install External unit's fan for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
89 | Supply and install External unit's fan for A/C Haier AB36ES1ERA(S) | Each | 3
90 | Supply and install internal unit's fan for Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW | Each | 2
91 | Supply and install internal unit's fan for Neoclima NS-18EHXIw1 | Each | 1
92 | Supply and install internal unit's fan for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 2
93 | Supply and install internal unit's fan for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
94 | Supply and install internal unit's fan for A/C Haier AB36ES1ERA(S) | Each | 2
95 | Supply and install compressor's Condenser Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW | Each | 2
96 | Supply and install compressor's Condenser for Neoclima NS-18EHXIw1 | Each | 1
97 | Supply and install compressor's Condenser for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
98 | Supply and install compressor's Condenser HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 2
99 | Supply and install compressor's Condenser A/C Haier AB36ES1ERA(S) | Each | 2
100 | Supply and install Reverse valve for Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW | Each | 1
101 | Supply and install Reverse valve for Neoclima NS-18EHXIw1 | Each | 1
102 | Supply and install Reverse valve for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
103 | Supply and install Reverse valve for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
104 | Supply and install Reverse valve for A/C Haier AB36ES1ERA(S) | Each | 2
105 | Supply and install Coil sensor for Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW | Each | 2
106 | Supply and install Coil sensor for Neoclima NS-18EHXIw1 | Each | 1
107 | Supply and install Coil sensor for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
108 | Supply and install Coil sensor for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
109 | Supply and install Room sensor for Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW | Each | 2
110 | Supply and install Room sensor for Neoclima NS-18EHXIw1 | Each | 1
111 | Supply and install Room sensor for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
112 | Supply and install Room sensor for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
113 | Supply and install Room sensor for A/C Haier AB36ES1ERA(S) | Each | 3
114 | Supply and install good quality new filters to be installed on Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW | Each | 2
115 | Supply and install Compressor for Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW | Each | 2
116 | Supply and install Compressor for Neoclima NS-18EHXIw1 | Each | 1
117 | Supply and install Compressor for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
118 | Supply and install Compressor for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
119 | Supply and install Compressor for A/C Haier AB36ES1ERA(S) | Each | 1
120 | Supply and install external unit fan's motor for Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW. | Each | 2
121 | Supply and install external unit fan's motor for Neoclima NS-18EHXIw1 | Each | 1
122 | Supply and install external unit fan's motor for Wall-mounted split-system A/C 1U35YEGFRA-H Haier | Each | 1
123 | Supply and install external unit fan's motor for HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) | Each | 1
124 | Supply and install external unit fan's motor for A/C Haier AB36ES1ERA(S) | Each | 2
125 | Cleaning external units | Each | 10
126 | Supply and install inverter A/C Air conditioner external unit/internal unit of duct type CH-D050PNK/CH-U050NK, Qx=4.8 kW. Price must including filling up with gas and cooper pipes of 5 m. Gas is RE 410 or R32 | pcs | 2
127 | Supply and install inverter Neoclima NS-18EHXIw1. Price must including filling up with gas and cooper pipes of 5 m. Gas is RE 410 or R32 | pcs | 1
128 | Supply and install inverter A/C Wall-mounted split-system A/C 1U35YEGFRA-H Haier. Price must including filling up with gas and cooper pipes of 5 m. Gas is RE 410 or R32 | pcs | 1
129 | Supply and install HEC HSU-18TC/R32(DB)/HSU-18TK1/R32(DB) inverter. Price must including filling up with gas and cooper pipes of 5 m. Gas is RE 410 or R32 | pcs | 1
130 | Supply and install A/C Haier AB36ES1ERA(S) inverter. Price must including filling up with gas and cooper pipes of 5 m. Gas is RE 410 or R32 | pcs | 1
131 | Reinstalling of used AC provided by UNHCR excluding gas and pipes or any other material to maintain the Ac | pcs | 3
132 | Re-installing compressor | pcs | 1
133 | Visit of the A/C specialist to inspect the A/Cs and report the malfunctions without any maintenance works. Price is per visit to the office. | pcs | 10
134 | Provide & install stainless strainers of approved quality for the taps' outlets of water mixers or water taps to replace damaged ones | pcs | 5
135 | Provide and install 1/2"brass or chrome water taps | pcs | 10
136 | Provide and install 11/2" or 11/4" chrome plated wash basin outlet trap | pcs | 10
137 | Provide and install hydraulic plastic seat cover for W.C. seat complete with all accessories needed. | pcs | 10
138 | Supply and install ceiling mounted 30cmX30cm square Aluminum Air Diffusers for the central system. | pcs | 10
139 | Provide and install 1/2"-3/4" brass or chrome valve including all accessories needed | pcs | 10
140 | Provide and install ball valve 1/2'-3/4" | pcs | 10
141 | Provide and install float valve 1/2'-3/4" | pcs | 10
142 | Cleaning and unblocking of all kinds of wash basins, sinks, bidets, urinals etc. | pcs | 25
143 | Provide and install W.C. seat to match the existing, all complete with flushing systern, water and sewer connections, repair of damages due to unfixing and refixing | pcs | 10
144 | Provide and install wash basin to match the existing with all accessories, frame, outlet, water tap, with water and sewer connections and making good finish due to unfixing and refixing. | pcs | 5
145 | Provide and install Italian made angle valves as water mixer accessories to replace the damaged ones | pcs | 10
146 | Provide and install Italian made plastic syphon drain to match the existing one to be installed under wash basins. | pcs | 10
147 | Provide and install urinal of approved quality to replace the damaged one with all fittings, accessories and white cement to cover the edges | pcs | 1
148 | Supply and install push to flush system for the urinal, Italian-made and approved quality. | pcs | 2
149 | Provide and install plastic spray hose, Italian make of approved quality, flexible, to replace the damaged one | pcs | 5
150 | Provide and install flexible tube 1/2" chrome of approved quality with all accessories needed | pcs | 15
151 | Treatment of water leakage from the edges W.C. seat by pointing with white cement containing anti-leakage materials filling and making good finish. | pcs | 10
152 | Provide and install (1/2 HP) electrical water pump, Italian Made complete with all fittings for connection but excluding electrical wires and circuit breaker. | pcs | 1
153 | Provide and install (2 HP) electrical water pump, Italian Made complete with all fittings for connection but excluding electrical wires and circuit breaker. | pcs | 1
154 | Supply and install a metal box (louver walls) with a door to be placed on the water pumps. | pcs | 1
155 | Provide and install chrome angle 1/2" valve of approved quality for sanitary fittings, instead of damaged one. | pcs | 25
156 | Provide and install Italian made water mixer of approved quality to replace the damaged one. | pcs | 10
157 | Inspection and maintenance of the central heating system (pipes and all radiators). Price must include releasing air from the system. It shall also include for system flushing, rust inhibitors, refilling and testing. | pcs | 4
158 | Release the air from all the radiators in the main building | Each | 1
159 | Supply and install thermal 5L pipes for the central heating system including all accessories | m | 15
160 | Supply and install steel radiators of approved quality including all accessories | m | 10
161 | Supply and install aluminum radiators of approved quality including all accessories | m | 5
162 | Supply and install thermostatic radiator valves on flow side of radiators, including removal of existing valve and necessary plumbing works and fittings. | pcs | 50
163 | Provide suitably qualified and equipped personnel to be in UNHCR premises to perform minor maintenance works as required by UNHCR as described in Annex B. Price is for 1 person per day and without spare parts and materials. | Labor/day | 160
BIDDER'S COMMENTS / КОМЕНТАРІ УЧАСНИКА:
By signing on this document, which I am duly authorized to sign for, I confirm that I have read and understood all documents related to this Request for Quotation as provided by UNHCR. Підписуючи цей документ, який я належним чином уповноважений підписувати, я підтверджую, що прочитав і зрозумів усі документи, пов’язані з цим Запитом пропозицій від УВКБ ООН.
(person authorised to sign on behalf of the Bidder) / (особа, уповноважена ставити підпис від імені Учасника)
Signature over Printed Name / Підпис над ім'ям, написаним друкованими літерами
Position Title / Посада
Company Name / Назва компанії
Date and Place Signed / Дата і місце підписання
STAMP OF THE COMPANY / ПЕЧАТКА КОМПАНІЇ